Table I. Analytes and associated isotope analogues used as surrogate and injection standards respectively

| Analyte | Isotope dilution Analogue | Injection standard |
| --- | --- | --- |
| PFBA | 13C4-PFBA | 13C3-PFBA |
| PFPeA | 13C5-PFPeA |  |
| PFMBA |  |  |
| PFBS | 13C3-PFBS | 13C4-PFOS |
| PFEESA |  |  |
| PFHxA | 13C5-PFHxA | 13C2-PFOA |
| 4:2FTS | 13C2-4:2FTS | 13C4-PFOS |
| 6:2FTS | 13C2-6:2FTS |  |
| 8:2 FTS | 13C2-8:2FTS |  |
| PFPeS | 13C3-PFHxS |  |
| PFHxS |  |  |
| HFPO-DA | 13C3-HFPO-DA | 13C2-PFOA |
| PFHpA | 13C4-PFHpA |  |
| ADONA |  |  |
| PFOA | 13C8-PFOA |  |
| PFHpS | 13C8-PFOS | 13C4-PFOS |
| PFOS |  |  |
| 9Cl-PF3ONS |  |  |
| 11Cl-PF3OUdS |  |  |
| PFNA | 13C9-PFNA | 13C2-PFOA |
| PFDA | 13C6-PFDA |  |
| PFUnA | 13C7-PFUnA |  |
| PFDoA | 13C2-PFDoA |  |

Table II. LC gradient.

| Time (min) | Mobile phase A (%) | Mobile phase B (%) |
| --- | --- | --- |
| 0.0 | 97 | 3 |
| 1.0 | 75 | 25 |
| 9.0 | 15 | 85 |
| 10.0 | 3 | 97 |
| 13.0 | 3 | 97 |
| 13.1 | 97 | 3 |
| 17.0 | 97 | 3 |

Table 3. Method validation performances.

| Analiti | LOD (ng/ml) | LOQ (ng/ml) | Range di calibrazione (ng/mL) | Recupero (%) | Effetto matrice (%) | Intraday QC @ 0.5 ng/ml (% bias) | Interday QC @ 0.5 ng/ml (% bias) | Intraday QC @ 1.0 ng/ml (% bias) | Interday QC @ 1.0 ng/ml (% bias) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 11-Cl- PF3OUdS | 0.02 | 0.05 | 0.05-5 | 92 | -12 | 5 | 6 | -2 | -3 |
| 4:2 FTS | 0.02 | 0.05 | 0.05–5 | 100 | +25 | 1 | 1.2 | -1 | 0.8 |
| 6:2 FTS | 0.02 | 0.05 | 0.05–5 | 92 | -7 | 3 | -8 | -3 | -8 |
| 8:2 FTS | 0.02 | 0.05 | 0.05–5 | 87 | -15 | 15 | 17 | 5 | 15 |
| 9-Cl- PF3ONS | 0.02 | 0.05 | 0.05-5 | 92 | -12 | -5 | 8 | -6 | -3 |
| ADONA | 0.04 | 0.1 | 0.1-5 | 94 | +7 | -1 | -1 | -8 | 0.3 |
| HFPO- DA | 0.08 | 0.25 | 0.25-5 | 112 | -46 | 15 | 19 | 18 | 20 |
| PFBA | 0.04 | 0.1 | 0.1-5 | 112 | +9 | * | * | * | * |
| PFBS | 0.02 | 0.05 | 0.05–5 | 103 | -7 | 6 | 11 | 2 | 10 |
| PFDA | 0.02 | 0.05 | 0.05-5 | 112 | +18 | 2 | -10 | 3 | -9 |
| PFDoA | 0.02 | 0.05 | 0.05-5 | 98 | -4 | 11 | 12 | 15 | 14 |
| PFEESA | 0.02 | 0.05 | 0.05-5 | 103 | -7 | 4 | 3 | -4 | 10 |
| PFHpA | 0.04 | 0.1 | 0.1-5 | 94 | -7 | 6 | 4 | -8 | 12 |
| PFHpS | 0.02 | 0.05 | 0.05–5 | 92 | -12 | * | * | * | * |
| PFHxA | 0.04 | 0.01 | 0.1-5 | 117 | +15 | -7 | -10 | 10 | -9 |
| PFHxS | 0.02 | 0.05 | 0.05–5 | 93 | -10 | * | * | * | * |
| PFMBA | 0.02 | 0.25 | 0.25-5 | 109 | +17 | -2 | 2 | 1 | 3 |
| PFNA | 0.04 | 0.1 | 0.1-5 | 104 | -28 | -13 | -10 | -13 | -20 |
| PFOA | 0.02 | 0.05 | 0.05-5 | 98 | -20 | * | * | * | * |
| PFOS | 0.02 | 0.05 | 0.05-5 | 92 | -22 | * | * | * | * |
| PFPeA | 0.04 | 0.1 | 0.1-5 | 109 | +17 | 11 | 18 | 3 | 11 |
| PFPeS | 0.02 | 0.05 | 0.05–5 | 93 | +10 | 5 | 13 | 9 | 18 |
| PFUnA | 0.04 | 0.1 | 0.1-5 | 100 | +29 | 10 | 20 | -6 | -18 |

*Intraday and interday bias was obtained from spiked blood samples. However, for PFOA, PFOS, PFHxS, PFHpS and PFBA they were not calculated due to endogenous presence above the spiked concentrations.

Figure 1: Comparison between total PFAS concentrations in maternal and fetal (cord) blood.

Figure 2: Concentration ranges of the most frequently detected PFAS in maternal blood.

Figure 3: Concentration ranges of the most frequently detected PFAS in cord blood.