# Supplementary Methods

Exploring the use of wild cereals at Takarkori (Central Sahara, southwestern Libya) through stable carbon and nitrogen isotope analysis of prehistoric desiccated seeds

# Carbon and nitrogen stable isotope analysis

Seeds were treated following an acid-base-acid (ABA) modified protocol based on Fraser et al. (2013) and Vaiglova et al. (2014b). In brief, 0.5 M HCl was added to each sample and these were heated at 70°C for 30 minutes, then neutralised by rinsing them 5 times with distilled water. Next, 0.1 M NaOH was used and the sample heated at 70°C for 60 minutes and rinsed again at least 5 times with distilled water. Samples were then immersed again in 0.5 M HCl at 70°C for 30 minutes and rinsed to reach neutralisation. Finally, samples were dried at 65°C for 18 hours, and 1-2 mg were weighted for the analysis. The chemical treatment was performed at the Laboratory of Paleoanthropology and Bioarchaeology, Sapienza University of Rome. The treated samples were then measured for carbon and nitrogen stable isotopes at Iso-Analytical Limited (Crewe, UK) by Elemental Analysis – Isotope Ratio Mass Spectrometry (EA-IRMS) with a Europa Scientific 20–20 IRMS. Using the calculation suggested by Szpak et al. (2017), measurement uncertainty was monitored using three in-house standards with well-characterised isotopic composition: IA-R001 (wheat flour, δ13CV-PDB = -26.43 ± 0.08 ‰, δ15NAIR = +2.55 ± 0.22 ‰); IA-R005/IA-R045 (beet sugar plus ammonium sulphate, δ13CV-PDB = -26.03 ± 0.11 ‰, δ15NAIR = -4.71 ± 0.07 ‰) and IA-R006/IA-R046 (cane sugar plus ammonium sulphate, δ13CV-PDB = -11.64 ± 0.03  ‰, δ15NAIR = 22.04 ± 0.06 ‰). IA-R001 is calibrated against and traceable to IAEA-CH-6 (sucrose, δ13CV-PDB = -10.449 ‰) and IAEA-N-1 (ammonium sulphate, δ15NAIR = 0.40 ‰). IA-R005 and IA-R006 are calibrated against and traceable to IAEA-CH-6. IA-R045 and IA-R046 are calibrated against and traceable to IAEA-N-1. IAEA-CH-6 and IAEA-N-1 are inter-laboratory comparison standards distributed by the International Atomic Energy Agency, Vienna. Across the three runs, the wheat flour standard (n=22) was measured as containing 1.870 ± 0.025 wt% N and 40.69 ± 0.73 wt% C, with 95% confidence intervals being 1.82 to 1.92 wt% N and 39.2 to 42.1 wt% C. Samples with low nitrogen content (i.e., < 10 μg) were excluded from the data analysis. We observed that the samples that were preferentially lost during chemical treatment and/or have low nitrogen content are from the earliest phase, namely LA2.