Sample Collection and Processing

Peripheral blood was collected with Streck tubes from Onconext™ liquid kit, sent for analysis within 48 hours and processed accordingly to manufacturer instruction (centrifuge whole blood at 300 x g for 20 minutes at room temperature, remove upper plasma layer and transfer to a fresh tube, centrifuge the plasma at 5000 x g for 10 minutes and isolate cell-free DNA per kit manufacturer instruction)

Genetic alterations, variants analyses, assessments, and schedule

ctDNA from plasma was extracted using QIAamp Circulating Nucleic Acid Kit (QIAGEN, Germany). The extracted ctDNA was used for library preparation using the ThermoFisher Ion AmpliSeq™ Library Kit HD according to the manufacturer’s procedure. Molecular barcodes were linked to each initial DNA molecule to increase the confidence in mutation calling with respect to amplification errors.

After library preparation and enrichment, sequencing was performed on a ThermoFisher S5 Sequencer. Binary Alignment Map (BAM) files generated from the sequencing were automatically uploaded to the ThermoFisher Ion Reporter server v5.12 for data analysis.

The CNA status of 12 genes was analyzed by the Oncomine™ Pan-Cancer Cell-Free Assay (Thermo Fisher Scientific) panel only on baseline samples.