Table S5. Comparison between the in-house kDNA PCR assay and the Clonit PCR assay (Cohen's κ =0.90).

|  |  | Clonit PCR |  |  |
| --- | --- | --- | --- | --- |
|  |  | pos | neg | tot |
| In-house kDNA PCR | pos | 31 | 4 | 35 |
|  | neg | 0 | 55 | 55 |
|  | tot | 31 | 59 | 90 |

kDNA. kinetoplast minicircle DNA; pos. positive; neg. negative; tot. total.

Table S6. Comparison between the in-house rDNA PCR assay and the Clonit PCR assay (Cohen's κ = 0.98).

|  |  | Clonit PCR |  |  |
| --- | --- | --- | --- | --- |
|  |  | pos | neg | tot |
| In-house rDNA PCR | pos | 31 | 1 | 32 |
|  | neg | 0 | 58 | 58 |
|  | tot | 31 | 59 | 90 |

rDNA. 18s ribosomal RNA gene; pos. positive; neg. negative; tot. total.

Table S7. Comparison between the in-house kDNA PCR assays and the in-house rDNA PCR assay (Cohen's κ = 0.93).

|  |  | in-house rDNA PCR |  |  |
| --- | --- | --- | --- | --- |
|  |  | pos | neg | Tot |
| in-house kDNA PCR | pos | 32 | 3 | 35 |
|  | neg | 0 | 55 | 55 |
|  | tot | 32 | 58 | 90 |

kDNA. kinetoplast minicircle DNA; rDNA. 18s ribosomal RNA gene; pos. positive; neg. negative; tot. total.

Patients with VL suspicion

Serological test 1 (rk39-ICT) and serological test 2

(IgM+IgG detection by ELISA or CLIA)

Confirmed VL case

Strong clinical suspicion?

Positive

Negative

Positive

Negative

Real-time PCR

Clonit and/or in house on PB sample

Strong clinical suspicion?

Yes

No

False positive case by PCR

Strong clinical suspicion?

Yes

VL negative

No

- PCR on BM sample

- PCR on a second PB sample

Yes

VL negative