Supplementary data

TABLE S1: analytical parameters used for the APIs quantification

| API | UV-vis analysis |  |  |  | HPLC assay |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Linearity (pH 1.2) | Linearity (pH 6.8) | Linearity (PBS) | max (nm) | Stationary phase | Mobile phase | max (nm) | Retention time (min) |
| FLU | 0.1–55 μg/mL (R² = 0.9998) | 0.1–40 μg/mL (R² = 0.9998). | 0 – 0.06 mM (R² = 0.9995) | 246 | Reversed phase (RP) C18 column (Kinetex, 5 μm, 150 mm x 4.60 mm; Phenomenex, Bologna, Italy) | Acetonitrile (ACN) and trifluoroacetic acid (TFA) 0.1% at 50:50 ratio | 246 | 5.8 |
| NIM | 0.5–20 μg/mL (R² = 0.9987) | 0.5–30 μg/mL (R² = 0.9991). | 0 – 0.15 mM (R² = 0.9987) | 301 at pH 1.2 389 at pH 6.8 and PBS | RP C18 Kinetex column | ACN and TFA 0.1% at 55:45 ratio | 301 | 4.0 |
| OLZ | 0.1–50 μg/mL (R² = 0.9998) | 0.1–50 μg/mL (R² = 0.9998) | 0 – 0.06 mM (R² = 0.9985) | 230 | RP C18 column (Luna, 5 μm, 150 mm x 4.60 mm; Phenomenex, Bologna, Italy) | ACN and potassium phosphate monobasic buffer (50mM, pH 4.8) at 25:75 ratio | 230 | 5.7 |
| DOM | 0.1–100 μg/mL (R² = 0.9998) | 0.1–100 μg/mL (R² = 0.9998) | 0 – 0.15 mM (R² = 0.9988) | 284 | RP C18 Luna column | ACN and ammonium acetate buffer (10 mM, pH 6.6) at 40:60 ratio | 284 | 4.5 |
| CIN | 0.1–60μg/mL (R² = 0.9999) | 0.1–10 μg/mL (R² = 0.9997) | 0 – 0.025 mM (R² = 0.9996) | 253 | RP C18 Luna column | ACN and TFA 0.1% at 55:45 ratio | 253 | 3.7 |
| CBZ | 0.1 – 100 μg/mL (R² = 0.9999) | 0.1–100 μg/mL (R² = 0.9999) | 0 – 0.10 mM (R² = 0.9998) | 285 | RP C18 Luna column | ACN and TFA 0.1% at 40:60 ratio | 285 | 4.9 |

Figure S1: Scheme of dilution tests performed at 37°C. Created in BioRender. Sangiorgi, S. (2024) BioRender.com/z69n449.