Supplementary Methods

Methods for immunophenotypic assessments

EDTA-treated whole blood was collected during planned routine assessments.  Whole blood samples were incubated for 20 min in the dark at room temperature with a cocktail of multicolor-labeled mAbs, including anti-CD45, -CD19-, -CD3, -CD4, -CD8, -CD56 and -CD79b (Becton Dickinson, San Diego, CA, USA). Matched isotype mAbs were used as negative controls. After erythrocyte lysis with ammonium chloride (BD FACS Lysing Solution BD Biosciences Pharmingen), samples (5 × 104 events/sample) were acquired on a FACS Canto II Flow Cytometer (Becton Dickinson Immunocytometry Systems, Palo Alto, Calif.). The analysis was performed by a FacsDiva software (Becton Dickinson Immunocytometry Systems, Palo Alto, CA). Phenotypic analysis was based on morphological gating on forward/side light scatters (FSC-A and SSC-A, respectively) and CD45/side scatter.1

Supplementary References

1. Galati D, Zanotta S, Capone M, Madonna G, Mallardo D, Romanelli M, et al. Potential clinical implications of CD4+CD26high T cells for nivolumab treated melanoma patients. J Transl Med. 2023;21:318.