Supplementary material for:

Broth microdilution protocol for determining antimicrobial susceptibility of Legionella pneumophila to clinically relevant antibiotics.

Max Sewell1, Caitlin Farley1, Edward AR Portal1,2, Diane Lindsay3, Maria Luisa Ricci4, Sophie Jarraud5, Maria Scaturro4, Ghislaine Descours5, Anne Vatland Krøvel6, Rachael Barton1, Ian Boostom1, Roisin Ure3, Darja Kese7, Valeria Gaia8, Matej Golob7, Susanne Paukner9, Christophe Ginevra5, Baharak Afshar10, Sendurann Nadarajah11, Ingrid Wybo11, Charlotte Michel11, Fedoua Echahdi11, Juana María González-Rubio12, Fernando González-Camacho12, Massimo Mentasti13, Anastasia S. Flountzi14, Markus Petzold15, Jacob Moran-Gilad16, Søren Uldum17, Jonas Winchell18, Mandy Wooton13,19, Kathryn Bernard20, Lucy C. Jones,1 Victoria J. Chalker21 , Owen B. Spiller*1,10, on behalf of the ESCMID Study Group Legionella Infections†

Supplementary Instructional video: Full protocol Youtube tutorial link: https://youtu.be/ALva0i9HBsY

Supplementary Figure 1. Antibiotic preparation

Antibiotics stocks were prepared daily at 4 times the highest required concentration in the 96-well plate.

Supplementary Figure 1.  Antibiotic dilutions prepared daily for all five clinically relevant antibiotic are shown taking into account the specific catalogue numbers and suppliers listed in the materials and methods.  Azi- azithromycin; Dox-doxycycline; Lef-lefamulin; Lev-levofloxacin; Rif-rifampicin. For Azithromycin acidification is required to solubilise the powder, where X µL is indicated add 100 µL aliquots with vortexing until solubilised (max volume 1 ml). Please note initial solubilisation of rifampicin is in DMSO prior to addition of water.  Biorender agreement number DL26ZG0D5I

Supplementary Figure 2. Effects of agitation on MIC value clarity using four L. pneumophila strains and five clinically relevant antibiotics post 48-hour incubation. Left column: No agitation. Right column: shaking incubation at 160 rpm. Rows within 96-well plates represent antibiotics (azithromycin, doxycycline, lefamulin, levofloxacin, rifampicin). Red dotted lines represent the distinction between growth and no growth. The MIC is defined as the highest concentration of antibiotic that completely inhibits visible growth of L. pneumophila and is represented as the well left of the red dotted line.

Supplementary Table 1: Antibiotic MIC ranges across bacterial strains:

| Antibiotic |  |  |  |  |
| --- | --- | --- | --- | --- |
| Bacteria | Azithromycin | Doxycycline | Lefamulin | Levofloxacin | Rifampicin |
| Philadelphia (NCTC: 11192) | 0.008 -0.125 mg/L | 0.5-16 mg/L | 0.064-1 mg/L | 0.008-0.032 mg/L | 0.00025-0.001 mg/L |
| Knoxville (NCTC: 11286) | 0.008 -0.125 mg/L | 1-16 mg/L | 0.125-0.5 mg/L | 0.016-0.032 mg/L | 0.00025-0.001 mg/L |
| PHELPN45-24 (lpeAB-positive; NCTC: pending) | 0.064-0.5 mg/L | 1-16 mg/L | 0.25-2 mg/L | 0.008-0.32 mg/L | 0.00025-0.0005 mg/L |
| 23S rRNA mutant (highly macrolide resistant NCTC: pending) | >4 mg/L mg/L | 2-16 mg/L | 1-4 mg/L | 0.016-0.032 mg/L | 0.00025-0.0005 mg/L |

Supplementary table 2: MIC50 and MIC90 of antibiotics across bacterial strains:

| Antibiotics | MIC50 (Philadelphia) | MIC90 (Philadelphia) | MIC50 (Knoxville) | MIC90 (Knoxville) | MIC50 (LpeAB+) | MIC90 (LpeAB+) | MIC50 (23S rRNA mutant) | MIC90 (23S rRNA mutant) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Azithromycin | 0.032 | 0.0625 | 0.016 | 0.032 | 0.125 | 0.25 | N/A* | N/A |
| Doxycycline | 2 | 8 | 3 | 16 | 4 | 16 | 8 | 16 |
| Lefamulin | 0.5 | 1 | 0.25 | 0.5 | 0.5 | 1 | 1 | 2 |
| Levofloxacin | 0.016 | 0.016 | 0.016 | 0.016 | 0.016 | 0.032 | 0.016 | 0.016 |
| Rifampicin | 0.00025 | 0.0005 | 0.00025 | 0.0005 | 0.00025 | 0.0005 | 0.00025 | 0.0005 |

Legend: * N/A as the maximum in this assay is 4 mg/L, and MIC is above this consistently, but would always flag this isolate as requiring further investigation with an extended range.