## Foglio1
Table S2. Raw results of spread-plate culture, Legiolert and DI-Check Legionella pneumophila methods, reported by each participating laboratory.
Laboratory | Sample | Spread-plate culture CFU/L | MPN confirmed/10mL | MPN confirmed/100mL | DI-Check Legionella pneumophila Standard protocol | DI-Check Legionella pneumophila Exp1 procedure | DI-Check Legionella pneumophila Exp2 procedure
Regional Reference Center Legionella Provincial District, L'Aquila | 1 | 60000 | 905 | 2272.6 | ND | ND | ND
| 2 | 20000 | 142 | 1368
| 3 | <100 | 0 | 0
| 4 | <100 | 0 | 0
| 5 | <100 | 0 | 0
| 6 | <100 | 0 | 0
| 7 | 400 | 0 | 66
| 8 | 100 | 0 | 0
| 9 | 1000 | 0 | 0
| 10 | 10000 | 0 | 103
| 11 | <100 | 0 | 0
| 12 | <100 | 0 | 0
| 13 | <100 | 0 | 0
| 14 | 1000 | 22 | 42
| 15 | 500 | 23 | 22
| 16 | 300 | 0 | 3
| 17 | 200 | 43 | 92
| 18 | 300 | 43 | 31
| 19 | 200 | 0 | 2
| 20 | 100 | 0 | 1
| 21 | <100 | 0 | 0
| 22 | 100 | 0 | 1
| 23 | 1000 | 223 | 188
| 24 | 300 | 22 | 36
| 25 | 4000 | 921 | 1018
Acea Elabori | 1 | <100 | ND | 0 | NEG | ND | NEG
| 2 | <100 |  | 0 | NEG |  | NEG
| 3 | <100 |  | 0 | NEG |  | NEG
| 4 | <100 |  | 0 | NEG |  | NEG
| 5 | 150 |  | 222 | POS |  | POS
| 6 | <100 |  | 0 | NEG |  | NEG
| 7 | <100 |  | 0 | NEG |  | NEG
| 8 | <100 |  | 0 | POS |  | NEG
| 9 | <100 |  | 0 | NEG |  | NEG
| 10 | <100 |  | 0 | NEG |  | NEG
Analysis Laboratory Acquevenete s.p.a | 1 | <100 | 0 | 0 | NEG | ND | NEG
| 2 | <100 | 0 | 0 | NEG |  | NEG
| 3 | <100 | 0 | 0 | NEG |  | NEG
| 4 | <100 | 0 | 0 | NEG |  | NEG
| 5 | <100 | 0 | 0 | NEG |  | NEG
| 6 | <100 | 0 | 0 | NEG |  | NEG
| 7 | <100 | 0 | 0 | NEG |  | NEG
| 8 | <100 | 0 | 0 | NEG |  | NEG
| 9 | <100 | 0 | 0 | NEG |  | NEG
| 10 | <100 | 0 | 0 | NEG |  | NEG
| 11 | <100 | 0 | 0 | POS |  | NEG
| 12 | <100 | 0 | 0 | POS |  | NEG
| 13 | <100 | 0 | 0 | NEG |  | NEG
| 14 | <100 | 0 | 0 | NEG |  | NEG
| 15 | <100 | 0 | 0 | NEG |  | NEG
| 16 | <100 | 0 | 0 | NEG |  | NEG
| 17 | <100 | 0 | 0 | NEG |  | NEG
| 18 | <100 | 0 | 0 | NEG |  | NEG
| 19 | <100 | 0 | 0 | POS |  | NEG
| 20 | <100 | 0 | 0 | POS |  | NEG
| 21 | <100 | 0 | 0 | NEG |  | NEG
| 22 | <100 | 0 | 0 | NEG |  | NEG
| 23 | <100 | 0 | 0 | NEG |  | NEG
| 24 | <100 | 0 | 0 | POS |  | NEG
| 25 | <100 | 0 | 0 | POS |  | NEG
Microbiology laboratory Arpa Basilicata | 1 | 2600 | ND | 2.2 | POS | ND | ND
| 2 | 2400 |  | 2.2 | POS
| 3 | 2400 |  | 0 | POS
| 4 | 2600 |  | 2.2 | POS
| 5 | 2200 |  | 0 | POS
| 6 | 400 |  | 0 | POS
| 7 | 400 |  | 2.2 | POS
| 8 | 600 |  | 0 | POS
| 9 | 800 |  | 0 | POS
| 10 | 900 |  | 0 | POS
| 11 | 0 |  | 1.1 | POS
| 12 | 200 |  | 0 | POS
| 13 | 300 |  | 2.2 | POS
| 14 | 200 |  | 2.2 | POS
| 15 | 500 |  | 0 | POS
| 16 | 3600 |  | 1.1 | POS
| 17 | 2400 |  | 1.1 | POS
| 18 | 3400 |  | 0 | POS
| 19 | 3400 |  | 1.1 | POS
| 20 | 3200 |  | 0 | NEG
| 21 | 1200 |  | 0 | POS
| 22 | 1000 |  | 0 | POS
| 23 | 1700 |  | 2.2 | POS
| 24 | 700 |  | 1.1 | POS
| 25 | 3400 |  | 2.2 | POS
Regional reference laboratory for environmental surveillance of legionellosis, Department of Salerno Arpa Campania | 1 | 13700 | 1110 | 17178 | POS | ND | ND
| 2 | <100 | <10 | <100 | NEG
| 3 | 500 | 10 | 23 | POS
| 4 | 300 | 5 | 11 | POS
| 5 | <100 | <10 | <100 | POS
| 6 | <100 | <10 | <100 | POS
| 7 | <100 | <10 | <100 | NEG
| 8 | <100 | <10 | <100 | NEG
| 9 | <100 | <10 | <100 | NEG
| 10 | <100 | <10 | <100 | NEG
| 11 | 5000 | <10 | <100 | POS
| 12 | 9800 | <10 | <100 | POS
| 13 | 400 | 13 | 58 | POS
| 14 | 4800 | 287 | 310 | NEG
| 15 | 21000 | N/A | 10176 | POS
| 16 | <100 | <10 | <100 | POS
| 17 | 400 | 31 | 58 | POS
| 18 | 1800 | 79 | 169 | POS
| 19 | 1800 | 19 | 146 | ND
| 20 | 400 | 7 | 169 | ND
| 21 | <100 | 1 | 23 | ND
| 22 | <100 | <10 | <100 | ND
| 23 | 300 | <10 | <100 | ND
| 24 | 1600 | <10 | 159 | ND
| 25 | 1500 | <10 | 264 | ND
Regional Department of Laboratories Biological Analysis Service EST Laboratory Arpa Veneto | 1 | <100 | ND | <1 | POS | NEG | ND
| 2 | <100 |  | <1 | NEG | NEG
| 3 | 2000 |  | 506.7182 | POS | POS
| 4 | 1600 |  | 409.5607 | POS | POS
| 5 | <100 |  | <1 | NEG | NEG
| 6 | 65000 |  | N/A | POS | POS
| 7 | 200 |  | 21.939 | POS | POS
| 8 | 300 |  | 119.7626 | POS | POS
| 9 | 100 |  | 1.0755 | POS | POS
| 10 | <100 |  | 3.525 | POS | POS
| 11 | 2300 |  | 627.1278 | POS | POS
| 12 | 1500 |  | 53.3858 | POS | POS
| 13 | 1800 |  | 65.8784 | POS | POS
| 14 | 90000 |  | N/A | POS | POS
| 15 | 4000 |  | 1459.7834 | POS | POS
| 16 | 600 |  | 221.9024 | POS | POS
| 17 | 700 |  | 141.5667 | POS | POS
| 18 | 2000 |  | 78.7981 | POS | POS
| 19 | 600 |  | 134.1935 | POS | POS
| 20 | <100 |  | <1 | POS | POS
| 21 | <100 |  | <1 | POS | POS
| 22 | <100 |  | <1 | POS | POS
| 23 | <100 |  | <1 | POS | POS
| 24 | <100 |  | <1 | POS | POS
| 25 | 500 |  | 141.5667 | ND | ND
| 26 | 100 |  | 47.3644 | ND | ND
| 27 | 200 |  | 36.0836 | ND | ND
| 28 | 200 |  | 5.7954 | ND | ND
| 29 | 100 |  | 1.0755 | ND | ND
Bionaturalistic Laboratory Arpa Calabria | 1 | 0 | ND | 0 | ND | ND | ND
| 2 | 0 |  | 0
| 3 | 0 |  | 0
| 4 | 0 |  | 0
| 5 | 0 |  | 0
| 6 | 0 |  | 0
| 7 | 0 |  | 0
| 8 | 0 |  | 0
| 9 | 0 |  | 0
| 10 | 0 |  | 0
| 11 | 0 |  | 0
| 12 | 0 |  | 0
| 13 | 0 |  | 0
| 14 | 500 |  | 361
| 15 | 700 |  | 23
| 16 | 400 |  | 22
| 17 | 2500 |  | 0
| 18 | 1800 |  | 0
| 19 | 26000 |  | 74
| 20 | 0 |  | 361
| 21 | 4000 |  | 11
| 22 | 600 |  | 35
| 23 | 1400 |  | 58
| 24 | 900 |  | 47
| 25 | 600 |  | 104
Regional environmental protection agency Reggio Emilia Arpa Reggio Emilia | 1 | < 100 | ND | < 10 | ND | ND | ND
| 2 | < 100 |  | < 10
| 3 | < 100 |  | 1
| 4 | < 100 |  | < 10
| 5 | < 100 |  | < 10
| 6 | < 100 |  | < 10
| 7 | < 100 |  | < 10
| 8 | < 100 |  | < 10
| 9 | < 100 |  | < 10
| 10 | < 100 |  | < 10
| 11 | < 100 |  | < 10
| 12 | 1100 |  | < 10
| 13 | < 100 |  | < 10
| 14 | < 100 |  | < 10
| 15 | < 100 |  | < 10
| 16 | < 100 |  | < 10
| 17 | < 100 |  | < 10
| 18 | < 100 |  | < 10
| 19 | < 100 |  | < 10
| 20 | < 100 |  | < 10
| 21 | < 100 |  | < 10
| 22 | < 100 |  | < 10
| 23 | < 100 |  | < 10
| 24 | 200 |  | < 10
| 25 | < 100 |  | < 10
| 26 | < 100 |  | < 10
Analitical Biology Unit, BolognaArpa Bologna | 1 | < 100 | ND | < 10 | POS | ND | POS
| 2 | 400 |  | 60 | POS |  | POS
| 3 | < 100 |  | 4 | POS |  | POS
| 4 | 110000 |  | 7 | NEG |  | NEG
| 5 | < 100 |  | < 10 | NEG |  | NEG
| 6 | < 100 |  | < 10 | POS |  | POS
| 7 | < 100 |  | < 10 | POS |  | POS
| 8 | < 100 |  | < 10 | POS |  | POS
| 9 | < 100 |  | < 10 | POS |  | POS
| 10 | 5300 |  | 1110 | POS |  | POS
| 11 | 8000 |  | 1718 | POS |  | POS
| 12 | 7000 |  | 872 | POS |  | POS
| 13 | 6000 |  | 813 | POS |  | POS
| 14 | < 100 |  | < 10 | NEG |  | NEG
| 15 | < 100 |  | < 10 | NEG |  | NEG
| 16 | < 100 |  | < 10 | NEG |  | NEG
| 17 | < 100 |  | < 10 | NEG |  | NEG
| 18 | 200 |  | 15 | POS |  | POS
| 19 | 1000 |  | 8 | POS |  | POS
| 20 | 7000 |  | 13 | POS |  | POS
| 21 | < 100 |  | 1 | POS |  | POS
| 22 | 21000 |  | N/A | POS |  | POS
| 23 | 7000 |  | 1290 | POS |  | POS
| 24 | 14000 |  | 1222 | POS |  | POS
| 25 | 11000 |  | 1460 | POS |  | POS
Università Alma Mater Bologna | 1 | 200 | ND | 373 | Pos | ND | ND
| 2 | <100 | 1 | < 100 | Pos
| 3 | <100 | <10 | < 100 | Pos
| 4 | <100 | <10 | < 100 | Neg
| 5 | <100 | <10 | < 100 | Pos
| 6 | <100 | <10 | < 100 | Pos
| 7 | 3900 | 4368 | 4004 | Pos
| 8 | <100 | <10 | < 100 | Pos
| 9 | <100 | <10 | < 100 | Neg
| 10 | <100 | <10 | < 100 | Neg
| 11 | 100 | <10 | < 100 | Neg
| 12 | <100 | <10 | < 100 | Neg
| 13 | 9400 | N/A | 756 | Pos
| 14 | 7300 | 3295 | 1422 | Pos
| 15 | 5400 | 1441 | 47 | Pos
| 16 | 10000 | N/A | 47749 | Pos
| 17 | 1700 | 2731 | 290 | Pos
| 18 | 4000 | 6271 | 6506 | Pos
| 19 | 15000 | 217 | 422 | Pos
| 20 | <100 | <10 | < 100 | Pos
| 21 | <100 | <10 | < 100 | Pos
| 22 | <100 | <10 | < 100 | Pos
| 23 | <100 | <10 | < 100 | Pos
| 24 | <100 | <10 | < 100 | Pos
| 25 | 47000 | N/A | 263254 | Pos
| 26 | 36000 | 79877 | 36860 | Pos
| 27 | 2000 | 12629 | 1705 | Pos
| 28 | 3000 | 1650 | 3316 | Pos
| 29 | 190000 | N/A | 36860 | Pos
| 30 | <100 | <10 | < 100 | Pos
Department of Biomedical, Metabolic and Neuroscience Sciences, Public Health Section Università Modena | 1 | 8500 | 0 | 0 | POS | ND | ND
| 2 | <50 | 0 | 0 | POS
| 3 | 9000 | 19 | 23 | POS
| 4 | 4500 | 36 | 11 | POS
| 5 | 25500 | 36 | 90 | POS
| 6 | 2500 | 6 | 0 | POS
| 7 | 5000 | 85 | 176 | POS
| 8 | 2550 | 180 | 169 | POS
| 9 | 5500 | 205 | 659 | POS
| 10 | 4500 | 53 | 474 | POS
| 11 | 10900 | 287 | 1644 | POS
| 12 | 4000 | 92 | 39 | POS
| 13 | 4000 | 53 | 39 | POS
| 14 | 1000 | 19 | 10 | POS
| 15 | 2500 | 53 | 39 | POS
| 16 | 35500 | 385 | 4916 | POS
| 17 | <50 | 0 | 0 | POS
| 18 | 500 | 22 | 52 | POS
| 19 | 6000 | 134 | 141 | POS
| 20 | 2000 | 72 | 66 | POS
| 21 | 3000 | 19 | 11 | POS
| 22 | 750 | 53 | 90 | POS
| 23 | 9500 | 1460 | 1269 | POS
| 24 | 1000 | 36 | 52 | POS
| 25 | 2000 | 31 | 35 | POS
| 26 | 8750 | 1222 | 921 | POS
Food and Microbiology Laboratory ARPA Friuli Venezia Giulia | 1 | 6000 | ND | 1460 | POS | POS | ND
| 2 | 500 |  | 1460 | POS | POS
| 3 | 60000 |  | <10 | POS | POS
| 4 | 100 |  | <10 | POS | POS
| 5 | 4400 |  | 79 | POS | POS
| 6 | 100 |  | 134 | POS | POS
| 7 | 80000 |  | >2273 | POS | POS
| 8 | 15000 |  | >2273 | POS | POS
| 9 | 60000 |  | <10 | NEG | POS
| 10 | 8000 |  | 1718 | POS | POS
| 11 | 8000 |  | 1572 | POS | POS
| 12 | 13000 |  | 13 | POS | POS
| 13 | 40000 |  | >2273 | POS | POS
| 14 | 100 |  | 16 | POS | POS
| 15 | 1000 |  | <10 | NEG | POS
| 16 | <100 |  | <10 | NEG | NEG
| 17 | <100 |  | <10 | NEG | NEG
| 18 | <100 |  | <10 | NEG | NEG
| 19 | <100 |  | <10 | NEG | NEG
| 20 | <100 |  | <10 | NEG | NEG
| 21 | 6500 |  | >2273 | POS | POS
| 22 | 5200 |  | >2273 | POS | POS
| 23 | 100 |  | 13 | POS | NEG
| 24 | <100 |  | <10 | POS | POS
| 25 | 100 |  | 287 | POS | POS
| 26 | <100 |  | <10 | POS | POS
Biological sector laboratories Heratech group | 1 | 400 | ND | 76 | POS | POS | ND
| 2 | <50 |  | 0 | POS | POS
| 3 | <50 |  | 0 | NEG | NEG
| 4 | <50 |  | 0 | NEG | NEG
| 5 | <50 |  | 0 | POS | POS
| 6 | <50 |  | 0 | POS | POS
| 7 | 180 |  | 0 | POS | POS
| 8 | 1300 |  | 1 | POS | POS
| 9 | <50 |  | 0 | NEG | NEG
| 10 | 150 |  | 6 | POS | POS
| 11 | <50 |  | 1 | POS | NEG
| 12 | <50 |  | 11 | POS | POS
| 13 | 150 |  | 53 | POS | POS
| 14 | <50 |  | 0 | NEG | NEG
| 15 | <50 |  | 0 | NEG | NEG
| 16 | 50 |  | 0 | POS | NEG
| 17 | 400 |  | 127 | POS | POS
| 18 | 100 |  | 2 | POS | POS
| 19 | <50 |  | 0 | POS | NEG
| 20 | 700 |  | 0 | POS | POS
| 21 | 50 |  | 1 | POS | POS
| 22 | 500 |  | 2 | POS | POS
| 23 | <50 |  | 0 | POS | NEG
| 24 | <50 |  | 0 | NEG | POS
National reference laboratory for legionella infection Istituto Superiore di Sanità | 1 | <50 | 0 | 0 | Pos | ND | Pos
| 2 | 2600 | 1867 | 2276 | Pos |  | Pos
| 3 | <50 | 0 | 0 | Pos |  | Pos
| 4 | 400 | 0 | 0 | Pos |  | Pos
| 5 | 750 | 0 | 37 | Pos |  | Pos
| 6 | 750 | 44 | 41 | Pos |  | Pos
| 7 | 19800 | 124 | 53 | Pos |  | Pos
| 8 | 200 | 11 | 14 | Pos |  | Pos
| 9 | 300 | 0 | 0 | Pos |  | Pos
| 10 | 23000 | >2272,6 | >2272,6 | Pos |  | Pos
| 11 | 250 | 0 | 0 | Pos |  | Pos
| 12 | <50 | 0 | 0 | Pos |  | Pos
| 13 | <50 | 0 | 0 | Pos |  | Pos
| 14 | <50 | 0 | 0 | Pos |  | Pos
| 15 | <50 | 0 | 0 | Pos |  | Pos
| 16 | <50 | 0 | 0 | Pos |  | Pos
| 17 | <50 | 0 | 0 | Pos |  | Pos
| 18 | 6000 | 72 | 608 | Pos |  | Pos
| 19 | 28000 | 538 | >2272.6 | Pos |  | Pos
| 20 | 20000 | >2272.6 | >2272.6 | Pos |  | Pos
| 21 | 9750 | 205 | 1923 | Pos |  | Pos
Arpa Lazio | 1 | 100 | ND | 36 | POS | ND | POS
| 2 | 11000 |  | >2272,6 | POS |  | POS
| 3 | 4800 |  | >2272,6 | POS |  | POS
| 4 | 5100 |  | >2272,6 | POS |  | POS
| 5 | 21000 |  | 0 | POS |  | POS
| 6 | 20000 |  | 0 | POS |  | POS
| 7 | <50 |  | 0 | POS |  | NEG
| 8 | <50 |  | 0 | NEG |  | NEG
| 9 | <50 |  | 0 | NEG |  | NEG
| 10 | <50 |  | 0 | NEG |  | NEG
| 11 | <50 |  | 0 | NEG |  | NEG
| 12 | <50 |  | 0 | NEG |  | NEG
| 13 | 400 |  | 463 | POS |  | POS
| 14 | 50 |  | 172 | POS |  | POS
| 15 | <50 |  | 0 | POS |  | POS
| 16 | <50 |  | 0 | NEG |  | NEG
| 17 | <50 |  | 0 | NEG |  | NEG
| 18 | <50 |  | 0 | NEG |  | NEG
| 19 | <50 |  | 0 | NEG |  | NEG
| 20 | <50 |  | 0 | NEG |  | NEG
| 21 | <50 |  | 0 | NEG |  | NEG
| 22 | 500 |  | 0 | NEG |  | POS
| 23 | <50 |  | 0 | NEG |  | POS
| 24 | <50 |  | 0 | POS |  | NEG
| 25 | <50 |  | 1 | NEG |  | POS
Biological Agent Risk Laboratory INAIL | 1 | >30000 | ND | ND | POS | ND | POS
| 2 | >30000 |  |  | POS |  | POS
| 3 | >30000 |  |  | POS |  | POS
| 4 | >30000 |  |  | POS |  | POS
| 5 | <100 |  |  | POS |  | POS
| 6 | <100 |  |  | POS |  | NEG
| 7 | <100 |  |  | NEG |  | NEG
| 8 | <100 |  |  | POS |  | POS
| 9 | 20300 |  |  | POS |  | POS
| 10 | 12700 |  |  | POS |  | POS
| 11 | 6400 |  |  | POS |  | POS
| 12 | 10800 |  |  | POS |  | POS
| 13 | 19100 |  |  | POS |  | POS
| 14 | 5600 |  |  | POS |  | POS
| 15 | 28900 |  |  | POS |  | POS
| 16 | 21600 |  |  | POS |  | POS
| 17 | 12800 |  |  | POS |  | POS
| 18 | 12600 |  |  | POS |  | POS
| 19 | 8100 |  |  | POS |  | POS
| 20 | 22200 |  |  | POS |  | POS
| 21 | 500 |  |  | POS |  | POS
| 22 | 23100 |  |  | POS |  | POS
| 23 | 14100 |  |  | POS |  | POS
| 24 | 26900 |  |  | POS |  | POS
| 25 | 19200 |  |  | POS |  | POS
Department of Health Sciences Università Genova | 1 | 18000 | 3281 | 2273 | ND | ND | ND
| 2 | 800 | 187 | 127
| 3 | 800 | 84 | 106
| 4 | 15000 | 2396 | 2273
| 5 | 500 | 74 | 36
| 6 | 200 | NEG | 4
| 7 | 1200 | 23 | 12
| 8 | <100 | - | -
| 9 | <100 | - | -
| 10 | 400 | 39 | 66
| 11 | 3700 | 416 | 786
| 12 | 12300 | 2771 | N/A
| 13 | 17300 | 3971 | N/A
| 14 | <100 | - | 2
| 15 | <100 | 35 | 60
| 16 | <100
| 17 | 700 | 90 | 149
| 18 | 20000 | 3175 | N/A
| 19 | <100 | - | -
| 20 | <100 | 35 | 92
| 21 | <100 | - | 2
| 22 | 10000 | 1490 | 1110
| 23 | 5300 | 1644 | 2273
| 24 | 16000 | 921 | 1163
| 25 | 7600 | 2307 | N/A
Public Health Laboratory, Brescia ATS Brescia | 1 | 0 | 0 | 0 | ND | ND | ND
| 2 | 0 | 0 | 0
| 3 | 0 | 0 | 0
| 4 | 0 | 0 | 0
| 5 | 3850 | 58 | 60
| 6 | 20000 | 9772 | >2272.6
| 7 | 45500 | 22726 | >2272.6
| 8 | 20000 | 3281 | >2272.6
| 9 | 0 | 0 | 0
| 10 | 0 | 0 | 0
| 11 | 0 | 0 | 0
| 12 | 0 | 0 | 0
| 13 | 0 | 0 | 0
| 14 | 0 | 0 | 0
| 15 | >300000 | 31 | 126
| 16 | 0 | 0 | 0
| 17 | 5050 | 13 | 126
| 18 | 14500 | 1290 | 1127
| 19 | 2100 | 760 | 723
| 20 | 20000 | 117 | 0
| 21 | 18000 | 115 | 0
| 22 | 17000 | 47 | 0
| 23 | 60000 | 307 | 19226
| 24 | 64000 | 647 | >2272.6
| 25 | 28000 | >2272.6 | 2969
| 26 | 62500 | 463 | >2272.6
| 27 | 6500 | 127 | 310
| 28 | 39000 | >2272.6 | 7115
| 29 | 18000 | >2272.6 | 7115
Center of research Capgroup | 1 | <100 | ND | 0 | ND | ND | ND
| 2 | <100 |  | 0
| 3 | <100 |  | 0
| 4 | <100 |  | 0
| 5 | <100 |  | 0
| 6 | <100 |  | 0
| 7 | <100 |  | 0
| 8 | <100 |  | 0
| 9 | <100 |  | 0
| 10 | <100 |  | 0
| 11 | <100 |  | 0
| 12 | <100 |  | 0
| 13 | <100 |  | 0
| 14 | <100 |  | 0
| 15 | <100 |  | 0
| 16 | <100 |  | 0
| 17 | <100 |  | 0
| 18 | <100 |  | 0
| 19 | <100 |  | 0
| 20 | <100 |  | 0
| 21 | <100 |  | 0
| 22 | <100 |  | 0
| 23 | <100 |  | 0
| 24 | <100 |  | 0
Prevention Laboratory ATS Milano | 1 | 31000 | ND | >2272.6 | POS | ND | POS
| 2 | 27000 |  | >2272.6 | POS |  | POS
| 3 | 10000 |  | 977 | POS |  | POS
| 4 | <50 |  | <10 | POS |  | POS
| 5 | 14000 |  | 1923 | POS |  | POS
| 6 | <50 |  | <10 | POS |  | POS
| 7 | 38000 |  | >2272.6 | POS |  | POS
| 8 | 2300 |  | 572 | POS |  | POS
| 9 | 20000 |  | 2273 | POS |  | POS
| 10 | 22000 |  | >2272.6 | POS |  | POS
| 11 | 8000 |  | 1572 | POS |  | POS
| 12 | 1600 |  | 668 | POS |  | POS
| 13 | 10000 |  | >2272.6 | POS |  | POS
| 14 | 750 |  | 157 | POS |  | POS
| 15 | <50 |  | <10 | NEG |  | NEG
| 16 | 7500 |  | 1368 | POS |  | POS
| 17 | 4500 |  | 1923 | POS |  | POS
| 18 | <50 |  | <10 | NEG |  | NEG
| 19 | 900 |  | 134 | POS |  | POS
| 20 | 30500 |  | >2272.6 | POS |  | POS
| 21 | 4500 |  | 507 | POS |  | POS
| 22 | <50 |  | <10 | NEG |  | NEG
Multisites Laboratory U.O. Biology ARPAM | 1 | 200 | 0 | 36 | ND | ND | ND
| 2 | <100 | 0 | 0
| 3 | <100 | 0 | 0
| 4 | <100 | 0 | 0
| 5 | <100 | 0 | >2272.6
| 6 | <100 | 0 | 0
| 7 | 78000 | 0 | >2272.6
| 8 | <100 | 0 | 0
| 9 | <100 | 0 | 0
| 10 | <100 | 0 | 0
| 11 | <100 | 0 | 0
| 12 | <100 | 0 | 0
| 13 | <100 | 0 | 0
| 14 | 100 | 0 | 5
| 15 | 1100 | 0 | 120
| 16 | <100 | 0 | 0
| 17 | 200 | 0 | 124
| 18 | 200 | 0 | 42
| 19 | 200 | 0 | 26
Microbiological analysis Laboratoy ARPA Piemonte | 1 | < 83 | ND | < 1 | POS | NEG | ND
| 2 | < 67 |  | < 1 | POS | NEG
| 3 | 3000 |  | 72 | POS | POS
| 4 | < 50 |  | < 1 | NEG | NEG
| 5 | < 50 |  | < 1 | POS | POS
| 6 | < 50 |  | < 1 | POS | POS
| 7 | 800 |  | 72 | POS | POS
| 8 | 500 |  | 26 | POS | POS
| 9 | < 50 |  | < 1 | POS | POS
| 10 | 500 |  | 4 | POS | POS
| 11 | 50 |  | 3 | POS | POS
| 12 | 50 |  | 4 | POS | NEG
| 13 | < 50 |  | < 1 | NEG | POS
| 14 | 50 |  | < 1 | POS | POS
| 15 | 1500 |  | 113 | POS | POS
| 16 | < 50 |  | < 1 | POS | POS
| 17 | < 50 |  | < 1 | NEG | NEG
| 18 | < 50 |  | < 1 | NEG | NEG
| 19 | 2200 |  | >2272.6 | NEG | POS
| 20 | 50 |  | 4 | POS | POS
| 21 | < 50 |  | < 1 | POS | POS
| 22 | > 7500 |  | 977 | POS | POS
| 23 | 500 |  | 22 | NEG | NEG
| 24 | < 50 |  | < 1 | NEG | POS
| 25 | 150 |  | 42 | NEG | POS
| 26 | < 50 |  | < 1 | NEG | NEG
Interdisciplinary Department of Medicine Università degli Studi di Bari | 1 | 1500 | ND | 205 | POS | POS | ND
| 2 | 17500 |  | 689 | POS | POS
| 3 | 50 |  | 0 | POS | POS
| 4 | <50 |  | 0 | POS | POS
| 5 | <50 |  | 0 | POS | POS
| 6 | <50 |  | 0 | POS | POS
| 7 | 750 |  | 267 | POS | POS
| 8 | 2100 |  | 164 | POS | POS
| 9 | 100 |  | 0 | POS | POS
| 10 | 150 |  | 0 | POS | POS
| 11 | 500 |  | 0 | POS | POS
| 12 | 100 |  | 0 | POS | POS
| 13 | <50 |  | 0 | POS | POS
| 14 | <50 |  | 0 | POS | POS
| 15 | 24500 |  | 0 | POS | POS
| 16 | 6400 |  | 0 | POS | POS
| 17 | 3100 |  | 296 | POS | POS
| 18 | 4500 |  | 711 | POS | POS
| 19 | <50 |  | 0 | POS | POS
| 20 | 100 |  | 0 | POS | POS
| 21 | <50 |  | 0 | POS | POS
| 22 | <50 |  | 1 | POS | POS
| 23 | 350 |  | 0 | POS | POS
| 24 | <50 |  | 0 | POS | POS
| 25 | <50 |  | 0 | POS | POS
Regional Reference Laboratory for Environmental Diagnosis of Legionella Università degli Studi di Cagliari | 1 | <100 | <100 | <10 | NEG | ND | ND
| 2 | <100 | <100 | <10 | NEG
| 3 | <100 | <100 | <10 | NEG
| 4 | <100 | <100 | <10 | NEG
| 5 | 70000 | 1572.5 | >2272,6 | POS
| 6 | <100 | <100 | <10 | NEG
| 7 | <100 | <100 | 1.1 | POS
| 8 | <100 | <100 | <10 | POS
| 9 | 100 | <100 | 4.3 | POS
| 10 | <100 | <100 | <10 | POS
| 11 | 100 | <100 | 5.9 | POS
| 12 | <100 | <100 | <10 | NEG
| 13 | 3000 | 267 | >2272,6 | POS
| 14 | 8000 | 267 | 1572.5 | POS
| 15 | 12000 | 287 | 1717.8 | POS
| 16 | 8000 | 222 | 1572.5 | POS
| 17 | <100 | <100 | <10 | NEG
| 18 | 9500 | 287 | >2272,6 | POS
| 19 | <100 | <100 | <10 | NEG
| 20 | <100 | <100 | <10 | NEG
| 21 | 300 | <100 | 2.3 | POS
| 22 | 32000 | 385 | 1572.5 | POS
| 23 | <100 | <100 | <10 | NEG
| 24 | <100 | <100 | <10 | POS
Department of Medical, Surgical Sciences and Advanced Technologies Università degli Studi di Catania | 1 | 0 | 0 | 0 | NEG | ND | ND
| 2 | 6400 | 921 | 2272.6 | POS
| 3 | 1200 | 305 | 277 | POS
| 4 | 9100 | 2969 | 2272.6 | POS
| 5 | 0 | 0 | 0 | POS
| 6 | 104800 | 13677 | 2272.6 | POS
| 7 | 1800 | 126 | 13 | NEG
| 8 | 30000 | 8128 | 711 | POS
| 9 | 9800 | 2272.6 | 2272.6 | POS
| 10 | 0 | 0 | 0 | NEG
| 11 | 0 | 367 | 90 | NEG
| 12 | 200 | 11 | 3 | POS
| 13 | 0 | 0 | 0 | NEG
| 14 | 0 | 0 | 0 | NEG
| 15 | 0 | 0 | 14 | NEG
| 16 | 1600 | 474 | 129 | POS
| 17 | 0 | 0 | 0 | NEG
| 18 | 0 | 596 | 41 | NEG
| 19 | 0 | 0 | 0 | POS
| 20 | 2200 | 4096 | 222 | POS
| 21 | 7800 | 2969 | 297 | POS
| 22 | 400 | 74 | 6 | POS
| 23 | 400 | 275 | 20 | POS
| 24 | 1200 | 723 | 4 | POS
| 25 | 300 | 122 | 24 | POS
| 26 | 9200 | 0 | 0 | POS
Regional Reference laboratory for surveillance and control of legionellosis Università degli Studi di Palermo | 1 | 3650 | ND | 287 | POS | POS | ND
| 2 | 12000 |  | 905 | POS | POS
| 3 | <100 |  | 134 | POS | POS
| 4 | 150 |  | 31 | POS | POS
| 5 | <100 |  | 0 | POS | POS
| 6 | 1350 |  | 113 | POS | POS
| 7 | 2250 |  | 463 | POS | POS
| 8 | 14000 |  | 905 | POS | POS
| 9 | 3000 |  | 1718 | POS | POS
| 10 | 6000 |  | 1718 | POS | POS
| 11 | 1850 |  | 0 | POS | NEG
| 12 | 150 |  | 12 | POS | POS
| 13 | <100 |  | 0 | POS | POS
| 14 | 11000 |  | 1718 | POS | POS
| 15 | <100 |  | 0 | POS | POS
| 16 | <100 |  | 0 | POS | POS
| 17 | <100 |  | 0 | NEG | NEG
| 18 | <100 |  | 0 | NEG | NEG
| 19 | 150 |  | 5 | POS | POS
| 20 | <100 |  | 0 | NEG | NEG
| 21 | 5900 |  | 842 | POS | POS
| 22 | 30000 |  | N/A | POS | POS
| 23 | 3000 |  | 222 | POS | POS
| 24 | <100 |  | 0 | POS | POS
| 25 | 6000 |  | 760 | POS | POS
Regional Reference Laboratory for Clinical and Environmental Surveillance of Legionellosis Università degli Studi di Messina | 1 | 2000 | ND | ND | POS | ND | ND
| 2 | 100 |  |  | NEG
| 3 | 100 |  |  | POS
| 4 | 0 |  |  | NEG
| 5 | 0 |  |  | NEG
| 6 | 200 |  |  | NEG
| 7 | 100 |  |  | NEG
| 8 | 600 |  |  | NEG
| 9 | 35000 |  |  | POS
| 10 | 0 |  |  | NEG
| 11 | 0 |  |  | NEG
| 12 | 200 |  |  | NEG
| 13 |  |  |  | POS
| 14 | 200 |  |  | POS
| 15 | 100 |  |  | POS
| 16 | 800 |  |  | NEG
| 17 | 150000 |  |  | POS
| 18 | 12000 |  |  | POS
| 19 | 0 |  |  | POS
| 20 | 1700 |  |  | NEG
| 21 | 0 |  |  | POS
| 22 | 700 |  |  | POS
| 23 | 0 |  |  | POS
| 24 | 100 |  |  | POS
| 25 | 200 |  |  | POS
Sterimed | 1 | 8400 | ND | <10 | POS | POS | ND
| 2 | 8600 |  | 1870 | POS | POS
| 3 | <100 |  | <10 | NEG | NEG
| 4 | 6200 |  | 6590 | POS | POS
| 5 | 22000 |  | 13420 | POS | POS
| 6 | 800 |  | 520 | POS | POS
| 7 | 1300 |  | 1460 | NEG | POS
| 8 | <100 |  | <10 | POS | NEG
| 9 | <100 |  | <10 | NEG | NEG
| 10 | 7200 |  | 7490 | POS | NEG
| 11 | 2100 |  | 2200 | NEG | POS
| 12 | 23600 |  | 25800 | POS | POS
| 13 | 25400 |  | 28700 | POS | POS
| 14 | <100 |  | <10 | POS | POS
| 15 | <100 |  | <10 | NEG | POS
| 16 | 32700 |  | 32810 | POS | POS
| 17 | 45100 |  | 44900 | POS | POS
| 18 | <100 |  | <10 | NEG | NEG
| 19 | <100 |  | <10 | NEG | NEG
| 20 | 1100 |  | 1700 | POS | POS
| 21 | 800 |  | 1200 | NEG | POS
| 22 | 2200 |  | 1900 | POS | POS
| 23 | 1900 |  | 1500 | POS | POS
| 24 | 5400 |  | 7900 | POS | POS
Public Health Laboratory USL TC Reference Center of the Tuscany Region for Legionellosis ARPA Toscana | 1 | <50 | ND | 0 | NEG | NEG | ND
| 2 | <50 |  | 0 | NEG | NEG
| 3 | <50 |  | 0 | NEG | NEG
| 4 | 500 |  | 42 | POS | POS
| 5 | 1250 |  | 397 | POS | POS
| 6 | 25000 |  | 22726 | POS | POS
| 7 | 1700 |  | 361 | POS | POS
| 8 | <50 |  | 0 | NEG | NEG
| 9 | 12500 |  | 1882 | POS | POS
| 10 | 2900 |  | 940 | POS | POS
| 11 | 12500 |  | 1198 | POS | POS
| 12 | 2600 |  | 113 | POS | POS
| 13 | 150 |  | 6 | POS | POS
| 14 | 4150 |  | 174 | POS | POS
| 15 | 250 |  | 12 | POS | POS
| 16 | 2700 |  | 142 | POS | POS
| 17 | <50 |  |  | NEG | POS
| 18 | 15000 |  | 0 | POS | POS
| 19 | 14500 |  | 1590 | POS | POS
| 20 | 90000 |  | 9772 | POS | POS
| 21 | 120000 |  | 12224 | POS | POS
| 22 | 55000 |  | 5383 | POS | POS
| 23 | 90000 |  | 8723 | POS | POS
| 24 | 31500 |  | 4628 | POS | POS
| 25 | 22500 |  | 2771 | POS | POS
Regional Reference laboratory for environmental surveillance of legionellosis APPA Trento | 1 | < 50 | ND | 4 | POS | ND | ND
| 2 | < 50 |  | <1 | POS
| 3 | 400 |  | 99 | POS
| 4 | 500 |  | 60 | POS
| 5 | 1000 |  | 113 | POS
| 6 | 56000 |  | 8128 | POS
| 7 | 10000 |  | 863 | POS
| 8 | 8000 |  | 1094 | POS
| 9 | < 50 |  | 1 | POS
| 10 | 200 |  | 19 | POS
| 11 | 100 |  | 16 | POS
| 12 | 1900 |  | 317 | POS
| 13 | 3000 |  | 267 | POS
| 14 | < 50 |  | 1 | POS
| 15 | < 50 |  | 53 | POS
| 16 | 650 |  | 590 | POS
| 17 | 500 |  | 85 | POS
| 18 | 500 |  | 17 | POS
| 19 | 500 |  | 240 | POS
| 20 | 800 |  | 172 | POS
| 21 | 2000 |  | 277 | POS
| 22 | 1500 |  | 205 | POS
| 23 | <50 |  | <1 | POS
| 24 | <50 |  | <1 | POS
| 25 | 500 |  | 10 | POS
Regional environmental protection agency, water biomonitoring section ARPA Umbria | 1 | 40000 | 10616 | 2272.6 | ND | ND | ND
| 2 | 49000 | 3971 | 2272.6
| 3 | 600 | 23 | 8
| 4 | 3700 | 921 | 940
| 5 | 1600 | 223 | 339
| 6 | 2700 | 14598 | 2272.6
| 7 | 79000 | 6469 | 2272.6
| 8 | 147000 | 5223 | 2272.6
| 9 | 27000 | 264 | 287
| 10 | 3400 | 1342 | 1110
| 11 | 5700 | 126 | 2273
| 12 | 27000 | 1057 | 1222
| 13 | 6800 | 155 | 127
| 14 | 1000 | 4223 | 2272.6
| 15 | 42000 | 47 | 47
| 16 | <100 | 123 | 157
| 17 | 400 | 187 | 172
| 18 | 1000 | 84 | 85
| 19 | 900 | 534 | 397
| 20 | 1200 | 0 | 0
| 21 | <100 | 0 | 0
| 22 | <100 | 0 | 0
| 23 | <100 | 187 | 188
| 24 | 1200 | 0 | 0
| 25 | <100 | 0 | 0
| 26 | <100 | 0 | 0
| 27 | <100 | ND | 572
| 28 | 6200 | ND | 2272.6
| 29 | 13000 | ND | 2272.6
| 30 | 13000 | ND | 0
| 31 | 500 | ND | 786
| 32 | 6500 | ND | 2272.6
Microbiology laboratory ARPA Valle D'Aosta | 1 | 200 | ND | ND | POS | ND | POS
| 2 | < 100 |  |  | POS |  | POS
| 3 | < 100 |  |  | NEG |  | NEG
| 4 | 100 |  |  | POS |  | POS
| 5 | < 100 |  |  | POS |  | POS
| 6 | < 100 |  |  | NEG |  | NEG
| 7 | < 100 |  |  | POS |  | POS
| 8 | < 100 |  |  | NEG |  | NEG
| 9 | < 100 |  |  | NEG |  | NEG
| 10 | < 100 |  |  | NEG |  | NEG
| 11 | < 100 |  |  | POS |  | POS
| 12 | < 100 |  |  | POS |  | POS
| 13 | < 100 |  |  | POS |  | POS
| 14 | < 100 |  |  | POS |  | POS
| 15 | 1000 |  |  | POS |  | POS
| 16 | 2900 |  |  | POS |  | POS
| 17 | 800 |  |  | POS |  | POS
| 18 | < 100 |  |  | POS |  | POS
| 19 | 600 |  |  | POS |  | POS
| 20 | 900 |  |  | POS |  | POS
| 21 | 700 |  |  | POS |  | POS
| 22 | 100 |  |  | POS |  | POS
| 23 | 500 |  |  | POS |  | POS
| 24 | 300 |  |  | POS |  | POS
| 25 | < 100 |  |  | POS |  | POS
Biological laboratory Gruppo Veritas | 1 | 0 | ND | 0 | NEG | ND | ND
| 2 | 0 |  | 0 | NEG
| 3 | 0 |  | 0 | NEG
| 4 | 166 |  | 42 | NEG
| 5 | 0 |  | 0 | NEG
| 6 | 0 |  | 0 | NEG
| 7 | 0 |  | 0 | NEG
| 8 | 0 |  | 0 | NEG
| 9 | 0 |  | 0 | NEG
| 10 | 0 |  | 0 | NEG
| 11 | 0 |  | 0 | POS
| 12 | 0 |  | 0 | NEG
| 13 | 0 |  | 0 | POS
| 14 | 0 |  | 0 | NEG
| 15 | 0 |  | 0 | NEG
| 16 | 0 |  | 0 | POS
| 17 | 0 |  | 0 | NEG
| 18 | 0 |  | 0 | NEG
| 19 | 0 |  | 0 | NEG
| 20 | 0 |  | 0 | NEG
| 21 | 2800 |  | 172 | POS
| 22 | 0 |  | 0 | NEG
| 23 | 800 |  | 106 | POS
| 24 | 20000 |  | >2272.6 | POS