Supplementary material of:

Life cycle assessment of UVC-based advanced oxidation processes as quaternary treatments: Clostridium spp. inactivation and comparison with chemical decontamination

Table S1. Life Cycle Impact Assessment of the Photo-Fenton process applied to Clostridium spp. (Figures 5 and 6)

|  | Photo-Fenton | UVC+H2O2 (21 mM) | UVC |
| --- | --- | --- | --- |
| Global warming (kg CO2 eq) | 4.37E-04 | 4.47E-04 | 2.66E-04 |
| Stratospheric ozone depletion (kg CFC11 eq) | 1.75E-10 | 1.85E-10 | 2.32E-10 |
| Ionizing radiation (kBq Co-60 eq) | 9.14E-05 | 9.94E-05 | 2.01E-04 |
| Ozone formation, Human health (kg NOx eq) | 6.02E-07 | 6.18E-07 | 3.93E-07 |
| Fine particulate matter formation (kg PM2.5 eq) | 3.85E-07 | 3.94E-07 | 2.33E-07 |
| Ozone formation, Terrestrial ecosystems (kg NOx eq) | 6.09E-07 | 6.25E-07 | 3.95E-07 |
| Terrestrial acidification (kg SO2 eq) | 1.06E-06 | 1.09E-06 | 7.17E-07 |
| Freshwater eutrophication (kg P eq) | 1.60E-07 | 1.61E-07 | 3.63E-08 |
| Marine eutrophication (kg N eq) | 2.80E-08 | 2.83E-08 | 6.93E-09 |
| Terrestrial ecotoxicity (kg 1,4-DCB) | 9.48E-05 | 9.88E-05 | 9.89E-05 |
| Freshwater ecotoxicity (kg 1,4-DCB) | 4.83E-07 | 4.86E-07 | 8.31E-08 |
| Marine ecotoxicity (kg 1,4-DCB) | 7.48E-07 | 7.55E-07 | 1.89E-07 |
| Human carcinogenic toxicity (kg 1,4-DCB) | 8.33E-08 | 8.44E-08 | 2.76E-08 |
| Human non-carcinogenic toxicity (kg 1,4-DCB) | 2.17E-06 | 2.20E-06 | 6.57E-07 |
| Land use (m2a crop eq) | 2.98E-05 | 3.13E-05 | 3.97E-05 |
| Mineral resource scarcity (kg Cu eq) | 5.06E-07 | 5.14E-07 | 1.94E-07 |
| Fossil resource scarcity (kg oil eq) | 1.56E-04 | 1.59E-04 | 8.62E-05 |
| Water consumption (m3) | 2.87E-05 | 2.90E-05 | 7.95E-06 |

Table S2. Uncertainty values estimated for the categories reported in Figures 5 and 6

|  | Photo-Fenton | UVC+H2O2 (21 mM) | UVC |
| --- | --- | --- | --- |
| Marine ecotoxicity (kg 1,4-DCB) | 5.21E-02 | 5.38E-02 | 2.38E-02 |
| Fine particulate matter formation (kg PM2.5 eq) | 6.87E-02 | 7.27E-02 | 2.22E-02 |
| Human carcinogenic toxicity (kg 1,4-DCB) | 8.68E-02 | 7.93E-02 | 5.42E-03 |
| Human non-carcinogenic toxicity (kg 1,4-DCB) | 1.69E+00 | 2.10E+00 | 5.84E-01 |
| Land use (m2a crop eq) | 3.41E+00 | 4.20E+00 | 4.13E+00 |
| Fossil resource scarcity (kg oil eq) | 1.76E+01 | 1.90E+01 | 1.10E+01 |

Table S3. Life Cycle Impact Assessment of the H2O2 process applied to Clostridium spp. (Figures 7 and 8)

|  | UVC | UVC+H2O2 (11 mM) | UVC+ H2O2 (21 mM) | UVC+ H2O2 (44 mM) | UVC+ H2O2 (88 mM) |
| --- | --- | --- | --- | --- | --- |
| Global warming (kg CO2 eq) | 2.15E-04 | 3.58E-04 | 4.47E-04 | 8.63E-04 | 1.80E-03 |
| Stratospheric ozone depletion (kg CFC11 eq) | 1.88E-10 | 2.04E-10 | 1.85E-10 | 3.22E-10 | 7.10E-10 |
| Ionizing radiation (kBq Co-60 eq) | 1.63E-04 | 1.45E-04 | 9.94E-05 | 1.52E-04 | 3.62E-04 |
| Ozone formation, Human health (kg NOx eq) | 3.19E-07 | 5.07E-07 | 6.18E-07 | 1.18E-06 | 2.48E-06 |
| Fine particulate matter formation (kg PM2.5 eq) | 1.88E-07 | 3.14E-07 | 3.94E-07 | 7.60E-07 | 1.59E-06 |
| Ozone formation, Terrestrial ecosystems (kg NOx eq) | 3.20E-07 | 5.11E-07 | 6.25E-07 | 1.20E-06 | 2.51E-06 |
| Terrestrial acidification (kg SO2 eq) | 5.81E-07 | 9.03E-07 | 1.09E-06 | 2.08E-06 | 4.36E-06 |
| Freshwater eutrophication (kg P eq) | 2.94E-08 | 1.01E-07 | 1.61E-07 | 3.28E-07 | 6.67E-07 |
| Marine eutrophication (kg N eq) | 5.61E-09 | 1.80E-08 | 2.83E-08 | 5.73E-08 | 1.17E-07 |
| Terrestrial ecotoxicity (kg 1,4-DCB) | 8.01E-05 | 9.77E-05 | 9.88E-05 | 1.79E-04 | 3.87E-04 |
| Freshwater ecotoxicity (kg 1,4-DCB) | 6.73E-08 | 2.93E-07 | 4.86E-07 | 9.95E-07 | 2.01E-06 |
| Marine ecotoxicity (kg 1,4-DCB) | 1.53E-07 | 4.83E-07 | 7.55E-07 | 1.53E-06 | 3.11E-06 |
| Human carcinogenic toxicity (kg 1,4-DCB) | 2.24E-08 | 5.71E-08 | 8.44E-08 | 1.69E-07 | 3.46E-07 |
| Human non-carcinogenic toxicity (kg 1,4-DCB) | 5.32E-07 | 1.46E-06 | 2.20E-06 | 4.42E-06 | 9.04E-06 |
| Land use (m2a crop eq) | 3.22E-05 | 3.49E-05 | 3.13E-05 | 5.45E-05 | 1.21E-04 |
| Mineral resource scarcity (kg Cu eq) | 1.57E-07 | 3.59E-07 | 5.14E-07 | 1.02E-06 | 2.10E-06 |
| Fossil resource scarcity (kg oil eq) | 6.99E-05 | 1.23E-04 | 1.59E-04 | 3.09E-04 | 6.43E-04 |
| Water consumption (m3) | 6.44E-06 | 1.89E-05 | 2.90E-05 | 5.85E-05 | 1.19E-04 |

Table S4. Uncertainty values estimated for the categories reported in Figures 7 and 8

|  | UVC | UVC+H2O2 (11 mM) | UVC+ H2O2 (21 mM) | UVC+ H2O2 (44 mM) | UVC+ H2O2 (88 mM) |
| --- | --- | --- | --- | --- | --- |
| Marine ecotoxicity (kg 1,4-DCB) | 2.83E-02 | 3.87E-02 | 5.24E-02 | 1.04E-01 | 2.00E-01 |
| Fine particulate matter formation (kg PM2.5 eq) | 2.68E-02 | 5.89E-01 | 7.13E-02 | 1.44E-01 | 2.87E-01 |
| Human carcinogenic toxicity (kg 1,4-DCB) | 6.90E-03 | 4.73E-02 | 8.26E-02 | 1.87E-01 | 3.41E-01 |
| Human non-carcinogenic toxicity (kg 1,4-DCB) | 5.08E-01 | 2.27E+00 | 1.22E+00 | 3.97E+00 | 6.03E+00 |
| Land use (m2a crop eq) | 4.92E+00 | 5.18E+00 | 4.65E+00 | 4.84E+00 | 7.16E+00 |
| Fossil resource scarcity (kg oil eq) | 1.37E+01 | 1.65E+01 | 1.86E+01 | 3.42E+01 | 6.33E+01 |

Table S5. Life Cycle Impact Assessment of the Photo-Fenton process applied to acetaminophen (Figures 9 and 10)

|  | Photo-Fenton | UVC+21mM H2O2 | UVC+0.02mM Fe(II) | UVC |
| --- | --- | --- | --- | --- |
| Global warming (kg CO2 eq) | 1.19E-03 | 1.98E-03 | 3.24E-03 | 3.19E-03 |
| Stratospheric ozone depletion (kg CFC11 eq) | 8.29E-10 | 1.52E-09 | 2.81E-09 | 2.78E-09 |
| Ionizing radiation (kBq Co-60 eq) | 6.58E-04 | 1.26E-03 | 2.43E-03 | 2.41E-03 |
| Ozone formation, Human health (kg NOx eq) | 1.71E-06 | 2.89E-06 | 4.86E-06 | 4.72E-06 |
| Fine particulate matter formation (kg PM2.5 eq) | 1.04E-06 | 1.74E-06 | 2.87E-06 | 2.79E-06 |
| Ozone formation, Terrestrial ecosystems (kg NOx eq) | 1.72E-06 | 2.91E-06 | 4.87E-06 | 4.74E-06 |
| Terrestrial acidification (kg SO2 eq) | 3.08E-06 | 5.23E-06 | 8.81E-06 | 8.61E-06 |
| Freshwater eutrophication (kg P eq) | 2.62E-07 | 3.71E-07 | 4.82E-07 | 4.36E-07 |
| Marine eutrophication (kg N eq) | 4.75E-08 | 6.83E-08 | 8.65E-08 | 8.31E-08 |
| Terrestrial ecotoxicity (kg 1,4-DCB) | 3.74E-04 | 6.70E-04 | 1.20E-03 | 1.19E-03 |
| Freshwater ecotoxicity (kg 1,4-DCB) | 7.17E-07 | 9.66E-07 | 1.07E-06 | 9.97E-07 |
| Marine ecotoxicity (kg 1,4-DCB) | 1.28E-06 | 1.85E-06 | 2.37E-06 | 2.26E-06 |
| Human carcinogenic toxicity (kg 1,4-DCB) | 1.61E-07 | 2.44E-07 | 3.40E-07 | 3.32E-07 |
| Human non-carcinogenic toxicity (kg 1,4-DCB) | 4.03E-06 | 6.00E-06 | 8.35E-06 | 7.88E-06 |
| Land use (m2a crop eq) | 1.42E-04 | 2.61E-04 | 4.84E-04 | 4.76E-04 |
| Mineral resource scarcity (kg Cu eq) | 1.05E-06 | 1.64E-06 | 2.37E-06 | 2.33E-06 |
| Fossil resource scarcity (kg oil eq) | 3.99E-04 | 6.57E-04 | 1.05E-03 | 1.03E-03 |
| Water consumption (m3) | 5.11E-05 | 7.50E-05 | 9.63E-05 | 9.55E-05 |

Table S6. Uncertainty values estimated for the categories reported in Figures 9 and 10

|  | Photo-Fenton | UVC+21mM H2O2 | UVC+0.02mM Fe(II) | UVC |
| --- | --- | --- | --- | --- |
| Marine ecotoxicity (kg 1,4-DCB) | 1.00E-07 | 1.68E-07 | 3.51E-07 | 3.50E-07 |
| Fine particulate matter formation (kg PM2.5 eq) | 1.08E-07 | 1.68E-07 | 3.29E-07 | 3.36E-07 |
| Human carcinogenic toxicity (kg 1,4-DCB) | 9.11E-08 | 9.91E-08 | 8.20E-08 | 8.27E-08 |
| Human non-carcinogenic toxicity (kg 1,4-DCB) | 3.28E-06 | 4.75E-06 | 9.51E-06 | 7.17E-06 |
| Land use (m2a crop eq) | 1.56E-05 | 3.01E-05 | 6.17E-05 | 5.97E-05 |
| Fossil resource scarcity (kg oil eq) | 4.60E-05 | 8.23E-05 | 1.62E-04 | 1.66E-04 |

Table S7. Life Cycle Impact Assessment of the H2O2 process applied to acetaminophen (Figures 11 and 12)

|  | UVC | H2O2 (11 mM) | H2O2 (21 mM) | H2O2 (43 mM) | H2O2 (107 mM) |
| --- | --- | --- | --- | --- | --- |
| Global warming (kg CO2 eq) | 3.19E-03 | 1.53E-03 | 1.19E-03 | 1.59E-03 | 2.78E-03 |
| Stratospheric ozone depletion (kg CFC11 eq) | 2.78E-09 | 1.23E-09 | 8.29E-10 | 9.69E-10 | 1.38E-09 |
| Ionizing radiation (kBq Co-60 eq) | 2.41E-03 | 1.03E-03 | 6.58E-04 | 7.15E-04 | 8.84E-04 |
| Ozone formation, Human health (kg NOx eq) | 4.72E-06 | 2.25E-06 | 1.71E-06 | 2.27E-06 | 3.89E-06 |
| Fine particulate matter formation (kg PM2.5 eq) | 2.79E-06 | 1.34E-06 | 1.04E-06 | 1.40E-06 | 2.44E-06 |
| Ozone formation, Terrestrial ecosystems (kg NOx eq) | 4.74E-06 | 2.26E-06 | 1.72E-06 | 2.29E-06 | 3.92E-06 |
| Terrestrial acidification (kg SO2 eq) | 8.61E-06 | 4.07E-06 | 3.08E-06 | 4.06E-06 | 6.89E-06 |
| Freshwater eutrophication (kg P eq) | 4.36E-07 | 2.62E-07 | 2.62E-07 | 4.23E-07 | 8.91E-07 |
| Marine eutrophication (kg N eq) | 8.31E-08 | 4.86E-08 | 4.75E-08 | 7.55E-08 | 1.57E-07 |
| Terrestrial ecotoxicity (kg 1,4-DCB) | 1.19E-03 | 5.35E-04 | 3.74E-04 | 4.54E-04 | 6.89E-04 |
| Freshwater ecotoxicity (kg 1,4-DCB) | 9.97E-07 | 6.61E-07 | 7.17E-07 | 1.21E-06 | 2.63E-06 |
| Marine ecotoxicity (kg 1,4-DCB) | 2.26E-06 | 1.32E-06 | 1.28E-06 | 2.03E-06 | 4.20E-06 |
| Human carcinogenic toxicity (kg 1,4-DCB) | 3.32E-07 | 1.79E-07 | 1.61E-07 | 2.43E-07 | 4.82E-07 |
| Human non-carcinogenic toxicity (kg 1,4-DCB) | 7.88E-06 | 4.36E-06 | 4.03E-06 | 6.18E-06 | 1.24E-05 |
| Land use (m2a crop eq) | 4.76E-04 | 2.10E-04 | 1.42E-04 | 1.65E-04 | 2.34E-04 |
| Mineral resource scarcity (kg Cu eq) | 2.33E-06 | 1.22E-06 | 1.05E-06 | 1.55E-06 | 2.98E-06 |
| Fossil resource scarcity (kg oil eq) | 1.03E-03 | 5.05E-04 | 3.99E-04 | 5.45E-04 | 9.72E-04 |
| Water consumption (m3) | 9.55E-05 | 5.40E-05 | 5.11E-05 | 7.97E-05 | 1.63E-04 |

Table S8. Uncertainty values estimated for the categories reported in Figures 9 and 10

|  | UVC | H2O2 (11 mM) | H2O2 (21 mM) | H2O2 (43 mM) | H2O2 (107 mM) |
| --- | --- | --- | --- | --- | --- |
| Marine ecotoxicity (kg 1,4-DCB) | 3.50E-07 | 1.46E-07 | 9.65E-08 | 1.35E-07 | 2.71E-07 |
| Fine particulate matter formation (kg PM2.5 eq) | 3.36E-07 | 1.41E-07 | 1.06E-07 | 1.61E-07 | 3.62E-07 |
| Human carcinogenic toxicity (kg 1,4-DCB) | 8.27E-08 | 5.49E-08 | 9.09E-08 | 1.73E-07 | 4.31E-07 |
| Human non-carcinogenic toxicity (kg 1,4-DCB) | 7.17E-06 | 4.41E-06 | 2.44E-06 | 3.95E-06 | 7.41E-06 |
| Land use (m2a crop eq) | 5.97E-05 | 2.54E-05 | 1.57E-05 | 1.69E-05 | 1.68E-05 |
| Fossil resource scarcity (kg oil eq) | 1.66E-04 | 6.91E-05 | 4.29E-05 | 5.39E-05 | 9.02E-05 |