## data_r_4
Study | Participants | detail of condition | Age | Age_SD | Age_group | BMI | Female % | Fitzpatrick scale (median) | N_study | Device | Wrist | Outcome | Criterion_measure | Lab_field | Activities | Intensities | relative_absolute | Duration_minutes | Mean_Criterion | SD_Criterion | Mean_Device | SD_Device | Correlation | BA_bias | BA_SD | LOA_L | LOA_U | Sensitivity | Sens_SD | Specificity | Spec_SD | Repeated_measures | N_analysis | Q1_samplesize | Q2_peerreview | Q3_firmware | Q4_multiple devices | Total | Test-Ref or Ref-Test
Cosoli 2022 | healthy |  | 17.3 | 3.3 | young | 19.8 |  |  | 10 | Venu SQ | Right | HR | Polar H10 | Lab | Rest | Rest | relative | [6 empty] | -1 |  | -17 | 15 |  |  |  |  | no | 10 | 0 | 1 | 1 | 1 | 3 | Test-Ref
Cosoli 2022 | healthy |  | 17.3 | 3 | young | 19.8 |  |  | 10 | Venu SQ | Right | HR | Polar H10 | Lab | Walking Trdm | Mix | relative | [6 empty] | -1 |  | -13 | 11 |  |  |  |  | no | 10 | 0 | 1 | 1 | 1 | 3 | Test-Ref
Cosoli 2022 | healthy |  | 17.3 | 3 | young | 19.8 |  |  | 10 | Venu SQ | Right | HR | Polar H10 | Field | Swimming | Mix | relative | [6 empty] | -57 |  | -124 | 10 |  |  |  |  | no | 10 | 0 | 1 | 1 | 1 | 3 | Test-Ref
Helmer 2022 | clinical | Postoperative | 68 | 11.8519 | old | 26.4 | 37.5 | 2 | 112 | Fenix 6 Pro | Random | HR | ECG | Lab | Rest | Rest | relative | [6 empty] | -1.21 |  | -1.65 | -0.77 |  |  |  |  | yes | 332 | 0 | 1 | 1 | 0 | 2 | Test-Ref
Helmer 2024 | clinical | Postoperative | 63 | 13.5 | middle |  | 70 | 2 | 10 | Fenix 6 pro | Random | HR | ECG | Lab | Walking | Light | relative | [6 empty] | -0.74 |  | -5.83 | 4.35 |  |  |  |  | yes | 43874 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Le 2022 | healthy |  | 23 | 2.2 | young | 22.1 | 50 |  | 20 | Fenix 6 | random | EE | Cosmed | Field | Walking | Light | relative | [6 empty] | 31 |  | -44.1 | 106 |  |  |  |  | no | 20 | 0 | 1 | 0 | 0 | 1 | Test-Ref
Le 2022 | healthy |  | 23 | 2.2 | young | 22.1 | 50 |  | 20 | Fenix 6 | random | EE | Cosmed | Field | running | MV | relative | [6 empty] | 19 |  | -25.8 | 63.7 |  |  |  |  | no | 20 | 0 | 1 | 0 | 0 | 1 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Vivoactive4 | Random | HR | ECG | Field | Rest | Rest | relative | [6 empty] | -1 |  | -12 | 11 |  |  |  |  | yes | 90 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Vivoactive4 | Random | HR | ECG | Field | Walking | MV | relative | [6 empty] | -8 |  | -42 | 27 |  |  |  |  | yes | 90 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Vivoactive4 | Random | HR | ECG | Field | Recovery | Recovery | relative | [6 empty] | 2 |  | -9 | 14 |  |  |  |  | yes | 90 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Vivoactive4 | Random | HR | ECG | Field | Rest | Rest | relative | [6 empty] | -2 |  | -12 | 9 |  |  |  |  | yes | 45 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Vivoactive4 | Random | HR | ECG | Field | Alternate Stepping | MV | relative | [6 empty] | 11 |  | -24 | 46 |  |  |  |  | yes | 45 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Vivoactive4 | Random | HR | ECG | Field | Recovery | Recovery | relative | [6 empty] | 6 |  | -15 | 26 |  |  |  |  | yes | 45 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Vivoactive4 | Random | HR | ECG | Field | Rest | Rest | relative | [6 empty] | -1 |  | -7 | 5 |  |  |  |  | yes | 48 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Vivoactive4 | Random | HR | ECG | Field | Chair Rise | MV | relative | [6 empty] | -7 |  | -20 | 5 |  |  |  |  | yes | 48 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Vivoactive4 | Random | HR | ECG | Field | Recovery | Recovery | relative | [6 empty] | 1 |  | -6 | 9 |  |  |  |  | yes | 48 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Vivoactive4 | Random | Distance | Meter wheel | Field | Walking | MV | relative | [6 empty] | -144 |  | -290 | 2 |  |  |  |  | yes | 90 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Vivoactive4 | Random | Distance | Meter wheel | Field | Walking | MV | relative | [6 empty] | -54 |  | -140 | 33 |  |  |  |  | yes | 45 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Vivoactive4 | Random | Steps | Hand tally counter | Field | Walking | MV | relative | [6 empty] | -12 |  | -66 | 42 |  |  |  |  | yes | 90 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Vivoactive4 | Random | Steps | Hand tally counter | Field | Walking | MV | relative | [6 empty] | -11 |  | -93 | 71 |  |  |  |  | yes | 90 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Wei Te 2022 | healthy |  | 29.3 | 3.6 | young | 21.2 | 50 |  | 30 | Forerunner 945 | right | HR | ECG | Lab | Rest | Rest | relative | [6 empty] | 1.53 |  | -2.2 | 3.89 |  |  |  |  | no | 30 | 0 | 1 | 0 | 1 | 2 | Ref-Test
Wei Te 2022 | healthy |  | 29.3 | 3.6 | young | 21.2 | 50 |  | 30 | Forerunner 945 | right | HR | ECG | Lab | Cycling | MV | relative | [6 empty] | 0.65 |  | -2.32 | 3.26 |  |  |  |  | no | 30 | 0 | 1 | 0 | 1 | 2 | Ref-Test
Wei Te 2022 | healthy |  | 29.3 | 3.6 | young | 21.2 | 50 |  | 30 | Forerunner 945 | right | HR | ECG | Lab | Cycling | MV | relative | [6 empty] | 0.21 |  | -4.46 | 3.56 |  |  |  |  | no | 30 | 0 | 1 | 0 | 1 | 2 | Ref-Test
Wei Te 2022 | healthy |  | 29.3 | 3.6 | young | 21.2 | 50 |  | 30 | Forerunner 945 | right | HR | ECG | Lab | Cycling | MV | relative | [6 empty] | -0.42 |  | -8.12 | 4.43 |  |  |  |  | no | 30 | 0 | 1 | 0 | 1 | 2 | Ref-Test
Hermand 2021 | healthy |  | 32.5 | 9.4 | young | 24.28 | 50 | 1.9 | 10 | Forerunner 245 | random | HR | ECG | Lab | Cycling | MV | relative | [6 empty] | -1.3 |  | -16.1 | 13.5 |  |  |  |  | yes | 40 | 0 | 1 | 0 | 1 | 2 | Ref-test
Hermand 2021 | healthy |  | 32.5 | 9.4 | young | 24.28 | 50 | 1.9 | 10 | Forerunner 245 | random | HR | ECG | Lab | Cycling | MV | relative | [6 empty] | -1.8 |  | -9.8 | 6.2 |  |  |  |  | yes | 40 | 0 | 1 | 0 | 1 | 2 | Ref-test
Hermand 2021 | healthy |  | 32.5 | 9.4 | young | 24.28 | 50 | 1.9 | 10 | Forerunner 245 | random | HR | ECG | Lab | Cycling | MV | relative | [6 empty] | -0.3 |  | -14.8 | 14.2 |  |  |  |  | yes | 40 | 0 | 1 | 0 | 1 | 2 | Ref-test
Hermand 2021 | healthy |  | 32.5 | 9.4 | young | 24.28 | 50 | 1.9 | 10 | Forerunner 245 | random | HR | ECG | Lab | Cycling | MV | relative | [6 empty] | -1.2 |  | -12 | 9.7 |  |  |  |  | yes | 40 | 0 | 1 | 0 | 1 | 2 | Ref-test
Hermand 2021 | healthy |  | 32.5 | 9.4 | young | 24.28 | 50 | 1.9 | 10 | Forerunner 245 | random | HR | ECG | Lab | Cycling | MV | relative | [6 empty] | -2.5 |  | -20.2 | 15.1 |  |  |  |  | yes | 40 | 0 | 1 | 0 | 1 | 2 | Ref-test
Hermand 2021 | healthy |  | 32.5 | 9.4 | young | 24.28 | 50 | 1.9 | 10 | Forerunner 245 | random | HR | ECG | Lab | Cycling | MV | relative | [6 empty] | -0.7 |  | -20.9 | 19.4 |  |  |  |  | yes | 40 | 0 | 1 | 0 | 1 | 2 | Ref-test
Budig 2021 | healthy |  | 36.1 | 12.8 | young | 23.6635 | 44.4444 |  | 36 | Forerunner 245 | random | HR | Polar H10 | Lab | Mix | MV | relative | [6 empty] | -6.73 |  | -33.83 | 20.36 |  |  |  |  | yes | 418323 | 1 | 1 | 1 | 0 | 3 | Test-Ref
Budig 2021 | healthy |  | 36.1 | 12.8 | young | 23.6635 | 44.4444 |  | 36 | Forerunner 245 | random | HR | Polar H10 | Lab | Mix | MV | relative | [6 empty] | -1.8 |  | -11.13 | 7.53 |  |  |  |  | yes | 344960 | 1 | 1 | 1 | 0 | 3 | Test-Ref
Miller2022 | healthy |  | 25.4 | 5.9 | young |  | 49.6 |  | 53 | Forerunner 245 music | random | Sleep (TST) | PSG | Lab |  |  | relative | [6 empty] | 43.8 | 38 | [6 empty] | no | 53 | 1 | 1 | 0 | 0 | 2 | Test-Ref
Miller2022 | healthy |  | 25.4 | 5.9 | young |  | 49.6 |  | 53 | Forerunner 245 music | random | Sleep (epoch) | PSG | Lab |  |  | relative | [10 empty] | 98 |  | 27 |  | no | 53 | 1 | 1 | 0 | 0 | 2 | Test-Ref
Miller2022 | healthy |  | 25.4 | 5.9 | young |  | 49.6 |  | 53 | Forerunner 245 music | random | HR | ECG | Lab | Sleeping |  | relative | [6 empty] | 5 | 12.8 | -20 | 30 |  |  |  |  | no | 53 | 1 | 1 | 0 | 0 | 2 | Test-Ref
Kastelic 2021 | healthy |  | 74 | 5 | old | 25.8 | 53.5714 |  | 28 | Vivoactive4 | non-dominant | Steps | video | Lab | Walking | Light | relative | [6 empty] | -5 |  | -37 | 27 |  |  |  |  | no | 28 | 0 | 1 | 0 | 0 | 1 | Ref-Test
Kastelic 2021 | healthy |  | 74 | 5 | old | 25.8 | 53.5714 |  | 28 | Vivoactive4 | non-dominant | Steps | video | Lab | Walking | Light | relative | [6 empty] | -8 |  | -52 | 36 |  |  |  |  | no | 28 | 0 | 1 | 0 | 0 | 1 | Ref-Test
Kastelic 2021 | healthy |  | 74 | 5 | old | 25.8 | 53.5714 |  | 28 | Vivoactive4 | non-dominant | Steps | video | Lab | Daily living | Light | relative | [6 empty] | 3 |  | -89 | 95 |  |  |  |  | no | 28 | 0 | 1 | 0 | 0 | 1 | Ref-Test
Kastelic 2021 | healthy |  | 74 | 5 | old | 25.8 | 53.5714 |  | 28 | Vivoactive4 | non-dominant | Steps | video | Lab | Daily living | Light | relative | [6 empty] | 7 |  | -21 | 36 |  |  |  |  | no | 28 | 0 | 1 | 0 | 0 | 1 | Ref-Test
Theurl 2023 | clinical | myocardial infarction | 59 | 8.8889 | middle | 26.2 | 17 |  | 104 | Vivoactive4 | right | HR | ECG | Lab | Rest | Rest | relative | [6 empty] | 0 |  | -0.1 | 0.2 |  |  |  |  | no | 104 | 1 | 1 | 0 | 1 | 3 | Test-Ref
Theurl 2023 | clinical | stroke | 67 | 13.3333 | old | 25.6 | 30 |  | 129 | Vivoactive4 | right | HR | ECG | Lab | Rest | Rest | relative | [6 empty] | 0 |  | -0.5 | 0.5 |  |  |  |  | no | 129 | 1 | 1 | 0 | 1 | 3 | Test-Ref
Theurl 2023 | healthy |  | 44 | 23.7037 | old | 22.9 | 47 |  | 30 | Vivoactive4 | right | HR | ECG | Lab | Rest | Rest | relative | [6 empty] | 0 |  | -0.5 | 0.6 |  |  |  |  | no | 30 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Budig 2022 | clinical | sleep disorder | 55.01 | 10.19 | middle | 30.57 | 63.3333 |  | 49 | Forerunner 945 | random | Sleep (TST) | PSG | Lab |  |  | relative | [6 empty] | -83.08 |  | -190.41 | 24.25 |  |  |  |  | no | 49 | 0 | 1 | 1 | 0 | 2 | Ref-Test
Neudorfer 2024 | healthy |  | 59.1 | 10.1 | middle | 26.1 | 0.34375 | 3 | 32 | Venu 2s | Random | HR | ECG | Lab | Cycling | light | relative | [6 empty] | -0.9 |  | -16.4 | 14.5 |  |  |  |  | yes | 3869 | 1 | 1 | 1 | 1 | 4 | Ref-Test
Neudorfer 2024 | healthy |  | 59.1 | 10.1 | middle | 26.1 | 0.34375 | 3 | 32 | Venu 2s | Random | HR | ECG | Lab | Cycling | MV | relative | [6 empty] | -1.3 |  | -21.7 | 19.2 |  |  |  |  | yes | 3867 | 1 | 1 | 1 | 1 | 4 | Ref-Test
Neudorfer 2024 | healthy |  | 59.1 | 10.1 | middle | 26.1 | 0.34375 | 3 | 32 | Venu 2s | Random | HR | ECG | Lab | Cycling | MV | relative | [6 empty] | -3.2 |  | -35.1 | 28.7 |  |  |  |  | yes | 3807 | 1 | 1 | 1 | 1 | 4 | Ref-Test
Neudorfer 2024 | healthy |  | 59.1 | 10.1 | middle | 26.1 | 0.34375 | 3 | 32 | Venu 2s | Random | HR | ECG | Lab | Daily living | Light | relative | [6 empty] | -2.2 |  | -17.6 | 13.2 |  |  |  |  | yes | 23772 | 1 | 1 | 1 | 1 | 4 | Ref-Test
Neudorfer 2024 | healthy |  | 59.1 | 10.1 | middle | 26.1 | 0.34375 | 3 | 32 | Venu 2s | Random | HR | ECG | Field | Daily living | Light | relative | [6 empty] | -0.2 |  | -11.7 | 11.4 |  |  |  |  | yes | 2402348 | 1 | 1 | 1 | 1 | 4 | Ref-Test
Note on P33: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: without swimming. Protocol: walking, running, swimming etc