## data_r_4
Study | Participants | detail of condition | Age | Age_SD | Age_group | BMI | Female % | Fitzpatrick scale (median) | N_study | Device | Wrist | Outcome | Criterion_measure | Lab_field | Activities | Intensities | relative_absolute | Duration_minutes | Mean_Criterion | SD_Criterion | Mean_Device | SD_Device | Correlation | BA_bias | BA_SD | LOA_L | LOA_U | Sensitivity | Sens_SD | Specificity | Spec_SD | Repeated_measures | N_analysis | Q1_samplesize | Q2_peerreview | Q3_firmware | Q4_multiple devices | Total | Test-Ref or Ref-Test
Kim 2022 | clinical | CVD | 59.9 | 9.4 | middle | 25.5 | 16.7 |  | 78 | Fit 2 | random | HR | ECG | Lab | Running Trdm | Mix | relative | [6 empty] | -2.1 |  | -12.8 | 8.7 |  |  |  |  | yes | 1326 | 1 | 1 | 0 | 1 | 3 | Ref-Test
Kim 2023 | clinical | Coronary artery disease | 60.9 | 7.9 | middle | 25.5565 | 18.1818 |  | 44 | Galaxy Watch 4 | random | HR | ECG | Lab | Running Trdm | MV | relative | [6 empty] | 0.18 |  | -3.58 | 3.95 |  |  |  |  | yes | 1054 | 0 | 1 | 0 | 1 | 2 | Ref-Test
Lee 2023 | clinical | Sleep disorders | 43.59 | 14.1 | middle | 23.9 | 48 |  | 22 | Galaxy Watch 5 | random | Sleep (epoch) | PSG | Lab |  |  | relative | [10 empty] | 91 |  | 48 |  | no | 22 | 0 | 1 | 0 | 0 | 1
Lima 2024 | healthy |  | 28.6 | 5.6 | young | 24.7 | 50 |  | 14 | Galaxy Watch 4 | random | HR | Polar | Lab | Cycling | MV | relative | [6 empty] | 3.43 | 14.15 | [6 empty] | yes | 8461 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Lima 2024 | healthy |  | 28.6 | 5.6 | young | 24.7 | 50 |  | 14 | Galaxy Watch 4 | random | HR | Polar | Lab | Cycling | MV | relative | [6 empty] | 0.14 | 5.79 | [6 empty] | yes | 8254 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Lima 2024 | healthy |  | 28.6 | 5.6 | young | 24.7 | 50 |  | 14 | Galaxy Watch 4 | random | HR | Polar | Lab | Running Trdm | MV | relative | [6 empty] | 1.17 | 8.58 | [6 empty] | yes | 8383 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Lima 2024 | healthy |  | 28.6 | 5.6 | young | 24.7 | 50 |  | 14 | Galaxy Watch 4 | random | HR | Polar | Lab | Running Trdm | MV | relative | [6 empty] | 0.32 | 4.62 | [6 empty] | yes | 8413 | 0 | 1 | 0 | 1 | 2 | Test-Ref