Multimedia Appendix 1

Framework details – differences from previous literature

As a note, we differentiated from Cheval et al. in point 3) of study quality. In particular, we did not consider the correct placement on the wrist for clinical applications (i.e., up to 3 finger widths above the wrist bone) as a criterion for risk of bias. In fact, since the current review is aimed for forensic purposes, where people wear their device in everyday life, a very specific positioning of the device is not relevant. Actually, this also could hold true for clinical purposes considering real-world applications, where subjects should be able to wear their smartwatch as usual (without too many indications that may lower adherence, especially in people with pathologies).

We differentiated also regarding relative and absolute measures. In [3], they standardized Kcal and steps by minutes. We did not perform this, since from the forensics perspective (but this could hold true also for the clinical one), we are interested in the exact number of steps performed and kcal burned, to identify a possible patterns. Values divided per minute may not be as informative.

Analyses without outliers

For the same reasons of the sensitivity analyses, the analyses without outliers could be performed only for the HR variable and for Apple and Garmin devices (supplementary figure 1). The results of these analyses, post-outlier removal, align closely with the main findings, displaying a marginal improvement as evidenced by a slight narrowing of the limits of agreement.

Figure S1. Forest plot for the meta-analyses without outliers. The number of available comparisons between the tested device and the gold standard is n.