## data Apple
Study | Participants | detail of condition | Age | Age_SD | Age_group | BMI | Female % | Fitzpatrick scale (median) | N_study | Device | Wrist | Outcome | Criterion_measure | Lab_field | Activities | Intensities | relative_absolute | Duration_minutes | Mean_Criterion | SD_Criterion | Mean_Device | SD_Device | Correlation | BA_bias | BA_SD | LOA_L | LOA_U | Sensitivity | Sens_SD | Specificity | Spec_SD | Repeated_measures | N_analysis | Q1_samplesize | Q2_peerreview | Q3_firmware | Q4_multiple devices | Total | Test-Ref or Ref-Test
Helmer 2022 | clinical | Postoperative | 68 | 11.8519 | old | 26.4 | 37.5 | 2 | 112 | Watch 7 | Random | HR | ECG | Lab | Rest | Rest | relative | [5 empty] | 0.98 | 0.36 |  | 0.09 | 0.63 |  |  |  |  | yes | 327 | 0 | 1 | 1 | 0 | 2 | Test-Ref
Khushhal 2024 | clinical | NCD | 51 | 7 | middle |  | 0 | 2 | 41 | Watch 8 | left | HR | Polar | Lab | Cycling | MV | relative | [5 empty] | 0.99 | -0.01 |  | -0.33 | 0.32 |  |  |  |  | no | 41 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Helmer 2024 | clinical | Postoperative | 63 | 13.5 | middle |  | 70 | 2 | 10 | Watch 7 | Random | HR | ECG | Lab | Mix | Light | relative | [6 empty] | -0.73 |  | -5.9 | 4.45 |  |  |  |  | yes | 8057 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Hajj-Boutros 2023 | healthy |  | 24.9 | 3 | young | 23.1 | 50 |  | 60 | Watch 6 | dominant | HR | Polar | Lab | Rest | Rest | relative | [6 empty] | 0.08 |  | -1.1 | 1.25 |  |  |  |  | no | 60 | 1 | 1 | 1 | 0 | 3 | Test-Ref
Hajj-Boutros 2023 | healthy |  | 24.9 | 3 | young | 23.1 | 50 |  | 60 | Watch 6 | dominant | HR | Polar | Lab | Walking Trdm | MV | relative | [6 empty] | 0.07 |  | -7.48 | 7.62 |  |  |  |  | no | 60 | 1 | 1 | 1 | 0 | 3 | Test-Ref
Hajj-Boutros 2023 | healthy |  | 24.9 | 3 | young | 23.1 | 50 |  | 60 | Watch 6 | dominant | HR | Polar | Lab | Running Trdm | MV | relative | [6 empty] | -1.22 |  | -14.02 | 11.57 |  |  |  |  | no | 60 | 1 | 1 | 1 | 0 | 3 | Test-Ref
Hajj-Boutros 2023 | healthy |  | 24.9 | 3 | young | 23.1 | 50 |  | 60 | Watch 6 | dominant | HR | Polar | Lab | resistance excercises | MV | relative | [6 empty] | -1.3 |  | -6.87 | 4.28 |  |  |  |  | no | 60 | 1 | 1 | 1 | 0 | 3 | Test-Ref
Hajj-Boutros 2023 | healthy |  | 24.9 | 3 | young | 23.1 | 50 |  | 59 | Watch 6 | dominant | HR | Polar | Lab | cycling | MV | relative | [6 empty] | -3.15 |  | -12.44 | 6.14 |  |  |  |  | no | 59 | 1 | 1 | 1 | 0 | 3 | Test-Ref
Le 2022 | healthy |  | 23 | 2.2 | young | 22.1 | 50 |  | 20 | Watch 6 | random | EE | IC | Field | walking | Light | relative | [6 empty] | 20.4 |  | -1.6 | 42.5 |  |  |  |  | no | 20 | 0 | 1 | 0 | 0 | 1 | Test-Ref
Le 2022 | healthy |  | 23 | 2.2 | young | 22.1 | 50 |  | 20 | Watch 6 | random | EE | IC | Field | running | MV | relative | [6 empty] | 25.6 |  | -5.7 | 57 |  |  |  |  | no | 20 | 0 | 1 | 0 | 0 | 1 | Test-Ref
Sun 2023 | healthy |  | 22.5 | 1.8 | young | 22.9 | 0 |  | 11 | Watch 6 | random | EE | IC | Lab | Running Trdm | MV | relative | [6 empty] | -80.77 |  | -157.4 | -4.17 |  |  |  |  | no | 11 | 0 | 1 | 0 | 0 | 1 | Ref-test
Sun 2023 | healthy |  | 22.5 | 1.8 | young | 22.9 | 0 |  | 11 | Watch 6 | random | EE | IC | Lab | running | MV | relative | [6 empty] | -67.57 |  | -135 | -0.14 |  |  |  |  | no | 11 | 0 | 1 | 0 | 0 | 1 | Ref-test
Kim 2023 | clinical | Coronary artery disease | 60.9 | 7.9 | middle | 25.5565 | 18.1818 |  | 44 | Watch 7 | random | HR | ECG | Lab | Running Trdm | MV | relative | [6 empty] | -0.11 |  | -3.33 | 3.22 |  |  |  |  | yes | 1054 | 0 | 1 | 0 | 1 | 3 | Ref-test
O'Grady 2024 | healthy |  | 24.6 | 8.2 | young | 23.65 | 56.41 |  | 39 | Watch 9 | random | HRV | Polar | Field | Rest | Rest | [7 empty] | -8.31 |  | -11 | 5.6 |  |  |  |  | yes | 316 | 0 | 1 | 0 | 1 | 4 | Test-Ref
O'Grady 2024 | healthy |  | 24.6 | 8.2 | young | 23.65 | 56.41 |  | 39 | Watch 9 | random | HR | Polar | Field | Rest | Rest | [7 empty] | -0.08 |  | -0.78 | 0.93 |  |  |  |  | yes | 316 | 0 | 1 | 0 | 1 | 4 | Test-Ref
Støve 2023 | healthy |  | 24.5 | 4 | young | 21.1 | 55 |  | 29 | Watch 6 | random | HR | Polar | Lab | resistance excercises | MV | relative | [6 empty] | -5.7 |  | -28.9 | 17.5 |  |  |  |  | no | 29 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Støve 2023 | healthy |  | 24.5 | 4 | young | 21.1 | 55 |  | 29 | Watch 6 | random | HR | Polar | Lab | resistance excercises | MV | relative | [6 empty] | -5.8 |  | -29.9 | 18.3 |  |  |  |  | no | 29 | 0 | 1 | 0 | 1 | 4 | Test-Ref
Støve 2023 | healthy |  | 24.5 | 4 | young | 21.1 | 55 |  | 29 | Watch 6 | random | HR | Polar | Lab | recovery | MV | relative | [6 empty] | 1.7 |  | -4.9 | 8.2 |  |  |  |  | no | 29 | 0 | 1 | 0 | 1 | 4 | Test-Ref
Støve 2023 | healthy |  | 24.5 | 4 | young | 21.1 | 55 |  | 29 | Watch 6 | random | HR | Polar | Lab | resistance excercises | MV | relative | [6 empty] | -7.1 |  | -20.5 | 5.8 |  |  |  |  | no | 29 | 0 | 1 | 0 | 1 | 4 | Test-Ref
Støve 2023 | healthy |  | 24.5 | 4 | young | 21.1 | 55 |  | 29 | Watch 6 | random | HR | Polar | Lab | resistance excercises | MV | relative | [6 empty] | -8.9 |  | -32.4 | 14.7 |  |  |  |  | no | 29 | 0 | 1 | 0 | 1 | 4 | Test-Ref
Støve 2023 | healthy |  | 24.5 | 4 | young | 21.1 | 55 |  | 29 | Watch 6 | random | HR | Polar | Lab | recovery | MV | relative | [6 empty] | 1.8 |  | -15.8 | 19.4 |  |  |  |  | no | 29 | 0 | 1 | 0 | 1 | 4 | Test-Ref
Støve 2023 | healthy |  | 24.5 | 4 | young | 21.1 | 55 |  | 29 | Watch 6 | random | HR | Polar | Lab | resistance excercises | MV | relative | [6 empty] | -13.9 |  | -47.1 | 19.3 |  |  |  |  | no | 29 | 0 | 1 | 0 | 1 | 4 | Test-Ref
Støve 2023 | healthy |  | 24.5 | 4 | young | 21.1 | 55 |  | 29 | Watch 6 | random | HR | Polar | Lab | resistance excercises | MV | relative | [6 empty] | -20.2 |  | -70.3 | 29.8 |  |  |  |  | no | 29 | 0 | 1 | 0 | 1 | 4 | Test-Ref
Støve 2023 | healthy |  | 24.5 | 4 | young | 21.1 | 55 |  | 29 | Watch 6 | random | HR | Polar | Lab | recovery | MV | relative | [6 empty] | -0.4 |  | -20.3 | 19.5 |  |  |  |  | no | 29 | 0 | 1 | 0 | 1 | 4 | Test-Ref
Støve 2023 | healthy |  | 24.5 | 4 | young | 21.1 | 55 |  | 29 | Watch 6 | random | HR | Polar | Lab | resistance excercises | MV | relative | [6 empty] | -6.1 |  | -24.5 | 12.4 |  |  |  |  | no | 29 | 0 | 1 | 0 | 1 | 4 | Test-Ref
Støve 2023 | healthy |  | 24.5 | 4 | young | 21.1 | 55 |  | 29 | Watch 6 | random | HR | Polar | Lab | resistance excercises | MV | relative | [6 empty] | -4.1 |  | -16.7 | 8.5 |  |  |  |  | no | 29 | 0 | 1 | 0 | 1 | 4 | Test-Ref
Støve 2023 | healthy |  | 24.5 | 4 | young | 21.1 | 55 |  | 29 | Watch 6 | random | HR | Polar | Lab | recovery | MV | relative | [6 empty] | 1.3 |  | -4.9 | 7.5 |  |  |  |  | no | 29 | 0 | 1 | 0 | 1 | 4 | Test-Ref
Støve 2023 | healthy |  | 24.5 | 4 | young | 21.1 | 55 |  | 29 | Watch 6 | random | HR | Polar | Lab | resistance excercises | MV | relative | [6 empty] | -16.2 |  | -53.8 | 21.4 |  |  |  |  | no | 29 | 0 | 1 | 0 | 1 | 4 | Test-Ref
Støve 2023 | healthy |  | 24.5 | 4 | young | 21.1 | 55 |  | 29 | Watch 6 | random | HR | Polar | Lab | resistance excercises | MV | relative | [6 empty] | -22 |  | -61.7 | 17.7 |  |  |  |  | no | 29 | 0 | 1 | 0 | 1 | 4 | Test-Ref
Støve 2023 | healthy |  | 24.5 | 4 | young | 21.1 | 55 |  | 29 | Watch 6 | random | HR | Polar | Lab | resistance excercises | MV | relative | [6 empty] | -0.5 |  | -18.3 | 17.3 |  |  |  |  | no | 29 | 0 | 1 | 0 | 1 | 4 | Test-Ref
Ho 2022 | healthy |  | 29.3 | 3.6 | young | 21.2 | 50 |  | 30 | Watch 6 | left | HR | ECG | Lab | Rest | Rest | relative | [6 empty] | 1.27 |  | -1.35 | 3.89 |  |  |  |  | no | 30 | 0 | 1 | 0 | 1 | 2 | Ref-Test
Ho 2022 | healthy |  | 29.3 | 3.6 | young | 21.2 | 50 |  | 30 | Watch 6 | left | HR | ECG | Lab | Cycling | MV | relative | [6 empty] | 0.69 |  | -1.87 | 3.26 |  |  |  |  | no | 30 | 0 | 1 | 0 | 1 | 2 | Ref-Test
Ho 2022 | healthy |  | 29.3 | 3.6 | young | 21.2 | 50 |  | 30 | Watch 6 | left | HR | ECG | Lab | Cycling | MV | relative | [6 empty] | 0.4 |  | -2.75 | 3.56 |  |  |  |  | no | 30 | 0 | 1 | 0 | 1 | 2 | Ref-Test
Ho 2022 | healthy |  | 29.3 | 3.6 | young | 21.2 | 50 |  | 30 | Watch 6 | left | HR | ECG | Lab | Cycling | MV | relative | [6 empty] | -0.01 |  | -4.26 | 4.43 |  |  |  |  | no | 30 | 0 | 1 | 0 | 1 | 2 | Ref-Test
Giggins 2021 | healthy |  | 30.4 | 8 | young | 24.67 | 50 | 3 | 10 | Watch 5 | left | HR | Polar | Field | Daily activities | Light | relative | [6 empty] | -5.8 |  | -32.5 | 20.9 |  |  |  |  | yes | 57 | 0 | 1 | 1 | 1 | 3 | test-ref
Giggins 2021 | healthy |  | 30.4 | 8 | young | 24.67 | 50 | 3 | 10 | Watch 5 | left | HR | Polar | Field | Running Trdm | MV | relative | [6 empty] | -5.5 |  | -19.6 | 8.6 |  |  |  |  | yes | 406 | 0 | 1 | 1 | 1 | 3 | test-ref
Giggins 2021 | healthy |  | 30.4 | 8 | young | 24.67 | 50 | 3 | 10 | Watch 5 | left | HR | Polar | Field | Rest | Rest | relative | [6 empty] | -7.5 |  | -22.3 | 15.3 |  |  |  |  | yes | 101 | 0 | 1 | 1 | 1 | 3 | test-ref
Viciana 2022 | healthy |  | 14.7 | 1.7 | young | 21.2 | 48.21 |  | 56 | Watch 5 |  | Step | Video | Lab | Walking | Light | relative | [6 empty] | 1.9 |  | -4.8 | 8.6 |  |  |  |  | no | 56 | 1 | 1 | 0 | 0 | 2 | ref-test
Viciana 2022 | healthy |  | 14.7 | 1.7 | young | 21.2 | 48.21 |  | 56 | Watch 5 |  | Step | Video | Lab | Walking | Light | relative | [6 empty] | 3.1 |  | -6.9 | 13.1 |  |  |  |  | no | 56 | 1 | 1 | 0 | 0 | 2 | ref-test
Viciana 2022 | healthy |  | 14.7 | 1.7 | young | 21.2 | 48.21 |  | 56 | Watch 5 |  | Step | Video | Lab | Walking | MV | relative | [6 empty] | 6.7 |  | -14.5 | 27.9 |  |  |  |  | no | 56 | 1 | 1 | 0 | 0 | 2 | ref-test
Viciana 2022 | healthy |  | 14.7 | 1.7 | young | 21.2 | 48.21 |  | 56 | Watch 5 |  | Step | Video | Lab | Walking | MV | relative | [6 empty] | 0.2 |  | -4.1 | 4.5 |  |  |  |  | no | 56 | 1 | 1 | 0 | 0 | 2 | ref-test
Robbins 2024 | healthy |  | 32.9 |  | young |  | 57.1 |  | 29 | Watch 8 | Random | Sleep (TST) | PSG | Lab |  |  | relative | [6 empty] | 8 |  | -33 | 48 |  |  |  |  | no | 29 | 0 | 1 | 0 | 0 | 1 | Test-Ref
Robbins 2024 | healthy |  | 32.9 |  | young |  | 57.1 |  | 33 | Watch 8 | Random | Sleep (epoch) | PSG | Lab |  |  | relative | [10 empty] | 97 | 2 | 52.4 | 21.5 | no | 33 | 0 | 1 | 0 | 0 | 1 | Test-Ref
Miller2022 | healthy |  | 25.4 | 5.9 | young |  | 49.6 |  | 53 | Watch 6 | random | Sleep (TST) | PSG | Lab |  |  | relative | [6 empty] | 39.5 | 41.5 | [6 empty] | no | 53 | 1 | 1 | 0 | 0 | 2 | Test-Ref
Miller2022 | healthy |  | 25.4 | 5.9 | young |  | 49.6 |  | 53 | Watch 6 | random | Sleep (epoch) | PSG | Lab |  |  | relative | [10 empty] | 97 |  | 26 |  | no | 53 | 1 | 1 | 0 | 0 | 2
Miller2022 | healthy |  | 25.4 | 5.9 | young |  | 49.6 |  | 53 | Watch 6 | random | HR | ECG | Lab | Sleeping |  | relative | [6 empty] | 0.5 | 2.1 | -3.5 | 4.5 |  |  |  |  | no | 53 | 1 | 1 | 0 | 0 | 2 | Test-Ref
Lee2023 | clinical | sleep disorders | 43.59 | 14.1 | middle | 23.9 | 48 |  | 26 | Watch 8 | Random | Sleep (epoch) | PSG | Lab |  |  | relative | [10 empty] | 96 |  | 45 |  | no | 26 | 0 | 1 | 0 | 0 | 1

## data Fitbit
Study | Participants | detail of condition | Age | Age_SD | Age_group | BMI | Female % | Fitzpatrick scale (median) | N_study | Device | Wrist | Outcome | Criterion_measure | Lab_field | Activities | Intensities | relative_absolute | Duration_minutes | Mean_Criterion | SD_Criterion | Mean_Device | SD_Device | Correlation | BA_bias | BA_SD | LOA_L | LOA_U | Sensitivity | Sens_SD | Specificity | Spec_SD | Repeated_measures | N_analysis | Q1_samplesize | Q2_peerreview | Q3_firmware | Q4_multiple devices | Total | Test-Ref or Ref-Test
Helmer 2022 | clinical | postoperative patients after moderate to major surgery | 68 | 11.8519 | old | 26.4 | 37.5 | 2 | 112 | Sense | Random | HR | ECG | Lab | Rest | Rest | relative | [6 empty] | 0.77 |  | 0.28 | 1.26 |  |  |  |  | yes | 308 | 0 | 1 | 1 | 0 | 2 | Test-Ref
Meza 2023 | clinical | stroke | 79.4 | 10.1 | old | 26.3 |  |  | 70 | Charge 5 | non-dominant | HR | ECG | Lab | Rest | Rest | relative | [6 empty] | -10.179 |  | -53.216 | 32.858 |  |  |  |  | yes | 526 | 1 | 1 | 0 | 0 | 2 | Ref-Test
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Sense | Random | HR | ECG | Field | Rest | Rest | relative | [6 empty] | -2 |  | -12 | 9 |  |  |  |  | yes | 90 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Sense | Random | HR | ECG | Field | Walking | MV | relative | [6 empty] | -4 |  | -34 | 27 |  |  |  |  | yes | 90 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Sense | Random | HR | ECG | Field | Recovery | Recovery | relative | [6 empty] | 2 |  | -13 | 17 |  |  |  |  | yes | 90 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Sense | Random | HR | ECG | Field | Rest | Rest | relative | [6 empty] | 0 |  | -8 | 9 |  |  |  |  | yes | 45 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Sense | Random | HR | ECG | Field | Alternate Stepping | MV | relative | [6 empty] | -10 |  | -39 | 18 |  |  |  |  | yes | 45 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Sense | Random | HR | ECG | Field | Recovery | Recovery | relative | [6 empty] | 0 |  | -11 | 12 |  |  |  |  | yes | 45 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Sense | Random | HR | ECG | Field | Rest | Rest | relative | [6 empty] | 1 |  | -12 | 13 |  |  |  |  | yes | 48 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Sense | Random | HR | ECG | Field | Chair Rise | MV | relative | [6 empty] | -13 |  | -26 | 0 |  |  |  |  | yes | 48 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Sense | Random | HR | ECG | Field | Recovery | Recovery | relative | [6 empty] | 0 |  | -6 | 6 |  |  |  |  | yes | 48 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Sense | Random | Distance | Meter wheel | Field | Walking | MV | relative | [6 empty] | -77 |  | -205 | 52 |  |  |  |  | yes | 90 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Sense | Random | Distance | Meter wheel | Field | Walking | MV | relative | [6 empty] | -55 |  | -145 | 36 |  |  |  |  | yes | 45 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Sense | Random | Steps | Hand tally counter | Field | Walking | MV | relative | [6 empty] | -142 |  | -275 | -8 |  |  |  |  | yes | 90 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Sense | Random | Steps | Hand tally counter | Field | Walking | MV | relative | [6 empty] | -75 |  | -216 | 66 |  |  |  |  | yes | 90 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Cuegniez 2025 | healthy |  | 21.1 | 5.8 | young | 21.9 | 44 | 2.9 | 7 | Charge 4 | non-dominant | HR | Polar | Field | Badminton | MV | relative | [6 empty] | -16.5 |  | -68.2 | 35.2 |  |  |  |  | yes | 904 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Cuegniez 2025 | healthy |  | 21.1 | 5.8 | young | 21.9 | 44 | 2.9 | 2 | Charge 4 | non-dominant | HR | Polar | Field | Tennis | MV | relative | [6 empty] | -6.2 |  | -37.2 | 24.8 |  |  |  |  | yes | 294 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Cuegniez 2025 | healthy |  | 21.1 | 5.8 | young | 21.9 | 44 | 2.9 | 5 | Charge 4 | non-dominant | HR | Polar | Field | Orienteering running | MV | relative | [6 empty] | -8.6 |  | -43.3 | 26 |  |  |  |  | yes | 421 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Cuegniez 2025 | healthy |  | 21.1 | 5.8 | young | 21.9 | 44 | 2.9 | 3 | Charge 4 | non-dominant | HR | Polar | Field | running | MV | relative | [6 empty] | 0.1 |  | -10.7 | 10.9 |  |  |  |  | yes | 845 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Cuegniez 2025 | healthy |  | 21.1 | 5.8 | young | 21.9 | 44 | 2.9 | 2 | Charge 4 | non-dominant | HR | Polar | Field | cycling | MV | relative | [6 empty] | 4.8 |  | -27.3 | 36.8 |  |  |  |  | yes | 1103 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Cuegniez 2025 | healthy |  | 21.1 | 5.8 | young | 21.9 | 44 | 2.9 | 12 | Charge 4 | non-dominant | HR | Polar | Field | soccer | MV | relative | [6 empty] | -16.5 |  | -59.6 | 26.7 |  |  |  |  | yes | 1080 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jachymek 2021 | healthy |  | 28 |  | young | 23.5 | 32.26 |  | 31 | Charge 4 | left | HR | ECG | Lab | Trdm | MV | relative | [6 empty] | -9.348 |  | -46.11 | 27.41 |  |  |  |  | yes | 439 | 0 | 1 | 0 | 1 | 2 | Ref-Test
Hajj-Boutros 2023 | healthy |  | 24.9 | 3 | young | 23.1 | 50 |  | 60 | Sense | dominant | HR | Polar | Lab | Rest | Rest | relative | [6 empty] | 1.14 |  | -13.43 | 15.7 |  |  |  |  | no | 60 | 1 | 1 | 1 | 0 | 3 | Test-Ref
Hajj-Boutros 2023 | healthy |  | 24.9 | 3 | young | 23.1 | 50 |  | 60 | Sense | dominant | HR | Polar | Lab | Trdm | MV | relative | [6 empty] | -1.26 |  | -13.44 | 10.91 |  |  |  |  | no | 60 | 1 | 1 | 1 | 0 | 3 | Test-Ref
Hajj-Boutros 2023 | healthy |  | 24.9 | 3 | young | 23.1 | 50 |  | 60 | Sense | dominant | HR | Polar | Lab | Trdm | MV | relative | [6 empty] | -3.76 |  | -16.73 | 9.22 |  |  |  |  | no | 60 | 1 | 1 | 1 | 0 | 3 | Test-Ref
Hajj-Boutros 2023 | healthy |  | 24.9 | 3 | young | 23.1 | 50 |  | 60 | Sense | dominant | HR | Polar | Lab | resistance excercises | MV | relative | [6 empty] | -6.51 |  | -19.48 | 6.46 |  |  |  |  | no | 60 | 1 | 1 | 1 | 0 | 3 | Test-Ref
Hajj-Boutros 2023 | healthy |  | 24.9 | 3 | young | 23.1 | 50 |  | 59 | Sense | dominant | HR | Polar | Lab | cycling | MV | relative | [6 empty] | -7.86 |  | -19.89 | 4.17 |  |  |  |  | no | 59 | 1 | 1 | 1 | 0 | 3 | Test-Ref
Hermans 2024 | healthy |  | 68 | 7 | old | 28 | 20 |  | 20 | Charge 4 | non-dominant | HR | Polar | Field | Rest | Rest | relative | [6 empty] | 3 |  | -10 | 15 |  |  |  |  | no | 20 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Hermans 2024 | clinical | COPD | 70 | 7 | old | 27 | 6.6667 |  | 25 | Charge 4 | non-dominant | HR | Polar | Field | Rest | Rest | relative | [6 empty] | -0.3 |  | -9 | 8 |  |  |  |  | no | 25 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Hermans 2024 | healthy |  | 68 | 7 | old | 28 | 20 |  | 20 | Charge 4 | non-dominant | HRV | Polar | Field | Rest | Rest | relative | [6 empty] | -7 |  | -30 | 16 |  |  |  |  | no | 20 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Hermans 2024 | clinical | COPD | 70 | 7 | old | 27 | 6.6667 |  | 25 | Charge 4 | non-dominant | HRV | Polar | Field | Rest | Rest | relative | [6 empty] | -3 |  | -22 | 15 |  |  |  |  | no | 25 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Simon-Vicente 2024 | clinical | Huntington's disease | 55.7 | 11.4 | middle | 24.8 | 50 |  | 14 | Charge 4 | dominant | EE | IC | Lab | Walking Trdm | MV | relative | [6 empty] | 3.169 |  | 0.033 | 6.304 |  |  |  |  | no | 14 | 0 | 1 | 0 | 1 | 2 | Ref-Test
Simon-Vicente 2024 | clinical | Huntington's disease | 55.7 | 11.4 | middle | 24.8 | 50 |  | 14 | Charge 4 | dominant | EE | IC | Lab | Walking Trdm | MV | relative | [6 empty] | 2.9 |  | -0.321 | 6.121 |  |  |  |  | no | 14 | 0 | 1 | 0 | 1 | 2 | Ref-Test
Simon-Vicente 2024 | clinical | Huntington's disease | 55.7 | 11.4 | middle | 24.8 | 50 |  | 14 | Charge 4 | dominant | EE | IC | Lab | Walking Trdm | MV | relative | [6 empty] | 2.59 |  | -0.962 | 6.143 |  |  |  |  | yes | 144 | 0 | 1 | 0 | 1 | 2 | Ref-Test
Stutz 2024 | healthy |  | 64 |  | middle | 24.4 | 48 |  | 60 | Charge 5 | dominant | EE | Oxycon | Lab | Mix | Light | relative | [6 empty] | -0.64 |  | -4.17 | 2.9 |  |  |  |  | no | 60 | 1 | 1 | 0 | 0 | 2 | Test-Ref
Lim2023 | healthy |  | 39 | 8 | young | 23.6 | 55.6 |  | 9 | Inspire 2 | Random | Sleep (epoch) | PSG | Lab |  |  | relative | [10 empty] | 93.9 |  | 13.1 |  | yes | 18 | 0 | 1 | 0 | 1 | 2
Dong2022 | clinical | insomnia | 48.8 | 2.1 | middle |  | 54.05 |  | 37 | Charge 4 | non-dominant | Sleep (TST) | PSG | Lab |  |  | relative | [6 empty] | -11 |  | -99.3 | 77.2 |  |  |  |  | no | 37 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Dong2022 | clinical | insomnia | 48.8 | 2.1 | middle |  | 54.05 |  | 37 | Charge 4 | non-dominant | Sleep (epoch) | PSG | Lab |  |  | relative | [10 empty] | 89.9 | 4 | 62.2 | 26.2 | no | 37 | 0 | 1 | 0 | 1 | 2
Ong2023 | healthy |  | 38.47 | 15.05 | young |  | 56.06 |  | 60 | Sense | non-dominant | Sleep (TST) | PSG | Lab |  |  | relative | [6 empty] | 5.97 | 40.66 | [6 empty] | no | 60 | 1 | 1 | 1 | 0 | 3 | Test-Ref
Ong2023 | healthy |  | 38.47 | 15.05 | young |  | 56.06 |  | 60 | Sense | non-dominant | Sleep (epoch) | PSG | Lab |  |  | relative | [10 empty] | 94.46 | 3.87 | 67.77 | 20.76 | no | 60 | 1 | 1 | 1 | 0 | 3
Willoughby2024 | healthy |  | 39.56 | 15.51 | young | 23.84 | 57.14 |  | 60 | Sense | non-dominant | Sleep (TST) | PSG | Lab |  |  | relative | [6 empty] | -12.65 | 33.69 | [6 empty] | no | 50 | 1 | 1 | 1 | 0 | 3 | Test-Ref
Willoughby2024 | healthy |  | 39.56 | 15.51 | young | 23.84 | 57.14 |  | 50 | Sense | non-dominant | Sleep (epoch) | PSG | Lab |  |  | relative | [10 empty] | 92.32 | 5.17 | 78.68 | 17.71 | no | 50 | 1 | 1 | 1 | 0 | 3
Grandner2023 | healthy |  | 23.4 | 3.8 | young | 23.4 | 44.4 |  | 36 | Charge 4 | left | Sleep (epoch) | PSG | Lab |  |  | relative | [10 empty] | 89 | 9 | 49 | 18 | no | 36 | 0 | 1 | 1 | 0 | 2
Robbins 2024 | healthy |  | 32.9 |  | young |  | 57.1 |  | 33 | Sense 2 | Random | Sleep (TST) | PSG | Lab |  |  | relative | [6 empty] | -3 |  | -63 | 57 |  |  |  |  | no | 33 | 0 | 1 | 0 | 0 | 1 | Test-Ref
Robbins 2024 | healthy |  | 32.9 |  | young |  | 57.1 |  | 33 | Sense 2 | Random | Sleep (epoch) | PSG | Lab |  |  | relative | [10 empty] | 95 | 3 | 67.7 | 23.1 | no | 33 | 0 | 1 | 0 | 0 | 1 | Test-Ref
Li 2024 | clinical | postoperative | 52.2 | 13.6 | middle | 22.5 | 40 |  | 45 | Fitbit Inspire HR |  | Steps | Hand tally counter | Lab | Walking | MV | relative | [6 empty] | -205.1 |  | -489.7 | 79.5 |  |  |  |  | no | 45 | 0 | 1 | 0 | 0 | 1 | tesr-ref
Colonna 2023 | clinical | Parkinson | 65.32 | 5.76 | old |  | 45.45 |  | 11 | Charge 4 | side less affected by PD | HR | Polar | Lab | Rest | Rest | relative | [6 empty] | 1.68 |  | -21.52 | 18.8 |  |  |  |  | yes | 596 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Colonna 2023 | clinical | Parkinson | 65.32 | 5.76 | old |  | 45.45 |  | 11 | Charge 4 | side less affected by PD | HR | Polar | Lab | Maximal exercise | MV | relative | [6 empty] | 6.29 |  | -22.02 | 36.2 |  |  |  |  | yes | 596 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Ogasawara2023 | clinical | psychiatric disorders | 48.1 | 17.2 | middle |  | 61.5 |  | 52 | Sense | non-dominant | Sleep (epoch) | PSG | Lab |  |  | relative | [10 empty] | 95 | 7 | 45 | 23 | no | 52 | 1 | 1 | 0 | 0 | 2
Lee2023 | clinical | sleep disorders | 43.59 | 14.1 | middle | 23.9 | 48 |  | 26 | Sense 2 | Random | Sleep (epoch) | PSG | Lab |  |  | relative | [10 empty] | 96 |  | 27 |  | no | 26 | 0 | 1 | 0 | 0 | 1

## data Garmin
Study | Participants | detail of condition | Age | Age_SD | Age_group | BMI | Female % | Fitzpatrick scale (median) | N_study | Device | Wrist | Outcome | Criterion_measure | Lab_field | Activities | Intensities | relative_absolute | Duration_minutes | Mean_Criterion | SD_Criterion | Mean_Device | SD_Device | Correlation | BA_bias | BA_SD | LOA_L | LOA_U | Sensitivity | Sens_SD | Specificity | Spec_SD | Repeated_measures | N_analysis | Q1_samplesize | Q2_peerreview | Q3_firmware | Q4_multiple devices | Total | Test-Ref or Ref-Test
Cosoli 2022 | healthy |  | 17.3 | 3.3 | young | 19.8 |  |  | 10 | Venu SQ | Right | HR | Polar H10 | Lab | Rest | Rest | relative | [6 empty] | -1 |  | -17 | 15 |  |  |  |  | no | 10 | 0 | 1 | 1 | 1 | 3 | Test-Ref
Cosoli 2022 | healthy |  | 17.3 | 3 | young | 19.8 |  |  | 10 | Venu SQ | Right | HR | Polar H10 | Lab | Walking Trdm | Mix | relative | [6 empty] | -1 |  | -13 | 11 |  |  |  |  | no | 10 | 0 | 1 | 1 | 1 | 3 | Test-Ref
Cosoli 2022 | healthy |  | 17.3 | 3 | young | 19.8 |  |  | 10 | Venu SQ | Right | HR | Polar H10 | Field | Swimming | Mix | relative | [6 empty] | -57 |  | -124 | 10 |  |  |  |  | no | 10 | 0 | 1 | 1 | 1 | 3 | Test-Ref
Helmer 2022 | clinical | Postoperative | 68 | 11.8519 | old | 26.4 | 37.5 | 2 | 112 | Fenix 6 Pro | Random | HR | ECG | Lab | Rest | Rest | relative | [6 empty] | -1.21 |  | -1.65 | -0.77 |  |  |  |  | yes | 332 | 0 | 1 | 1 | 0 | 2 | Test-Ref
Helmer 2024 | clinical | Postoperative | 63 | 13.5 | middle |  | 70 | 2 | 10 | Fenix 6 pro | Random | HR | ECG | Lab | Walking | Light | relative | [6 empty] | -0.74 |  | -5.83 | 4.35 |  |  |  |  | yes | 43874 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Le 2022 | healthy |  | 23 | 2.2 | young | 22.1 | 50 |  | 20 | Fenix 6 | random | EE | Cosmed | Field | Walking | Light | relative | [6 empty] | 31 |  | -44.1 | 106 |  |  |  |  | no | 20 | 0 | 1 | 0 | 0 | 1 | Test-Ref
Le 2022 | healthy |  | 23 | 2.2 | young | 22.1 | 50 |  | 20 | Fenix 6 | random | EE | Cosmed | Field | running | MV | relative | [6 empty] | 19 |  | -25.8 | 63.7 |  |  |  |  | no | 20 | 0 | 1 | 0 | 0 | 1 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Vivoactive4 | Random | HR | ECG | Field | Rest | Rest | relative | [6 empty] | -1 |  | -12 | 11 |  |  |  |  | yes | 90 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Vivoactive4 | Random | HR | ECG | Field | Walking | MV | relative | [6 empty] | -8 |  | -42 | 27 |  |  |  |  | yes | 90 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Vivoactive4 | Random | HR | ECG | Field | Recovery | Recovery | relative | [6 empty] | 2 |  | -9 | 14 |  |  |  |  | yes | 90 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Vivoactive4 | Random | HR | ECG | Field | Rest | Rest | relative | [6 empty] | -2 |  | -12 | 9 |  |  |  |  | yes | 45 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Vivoactive4 | Random | HR | ECG | Field | Alternate Stepping | MV | relative | [6 empty] | 11 |  | -24 | 46 |  |  |  |  | yes | 45 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Vivoactive4 | Random | HR | ECG | Field | Recovery | Recovery | relative | [6 empty] | 6 |  | -15 | 26 |  |  |  |  | yes | 45 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Vivoactive4 | Random | HR | ECG | Field | Rest | Rest | relative | [6 empty] | -1 |  | -7 | 5 |  |  |  |  | yes | 48 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Vivoactive4 | Random | HR | ECG | Field | Chair Rise | MV | relative | [6 empty] | -7 |  | -20 | 5 |  |  |  |  | yes | 48 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Vivoactive4 | Random | HR | ECG | Field | Recovery | Recovery | relative | [6 empty] | 1 |  | -6 | 9 |  |  |  |  | yes | 48 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Vivoactive4 | Random | Distance | Meter wheel | Field | Walking | MV | relative | [6 empty] | -144 |  | -290 | 2 |  |  |  |  | yes | 90 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Vivoactive4 | Random | Distance | Meter wheel | Field | Walking | MV | relative | [6 empty] | -54 |  | -140 | 33 |  |  |  |  | yes | 45 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Vivoactive4 | Random | Steps | Hand tally counter | Field | Walking | MV | relative | [6 empty] | -12 |  | -66 | 42 |  |  |  |  | yes | 90 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Jamieson 2024 | healthy |  | 27 | 2.2222 | young | 23.9 | 56 | 2 | 16 | Vivoactive4 | Random | Steps | Hand tally counter | Field | Walking | MV | relative | [6 empty] | -11 |  | -93 | 71 |  |  |  |  | yes | 90 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Wei Te 2022 | healthy |  | 29.3 | 3.6 | young | 21.2 | 50 |  | 30 | Forerunner 945 | right | HR | ECG | Lab | Rest | Rest | relative | [6 empty] | 1.53 |  | -2.2 | 3.89 |  |  |  |  | no | 30 | 0 | 1 | 0 | 1 | 2 | Ref-Test
Wei Te 2022 | healthy |  | 29.3 | 3.6 | young | 21.2 | 50 |  | 30 | Forerunner 945 | right | HR | ECG | Lab | Cycling | MV | relative | [6 empty] | 0.65 |  | -2.32 | 3.26 |  |  |  |  | no | 30 | 0 | 1 | 0 | 1 | 2 | Ref-Test
Wei Te 2022 | healthy |  | 29.3 | 3.6 | young | 21.2 | 50 |  | 30 | Forerunner 945 | right | HR | ECG | Lab | Cycling | MV | relative | [6 empty] | 0.21 |  | -4.46 | 3.56 |  |  |  |  | no | 30 | 0 | 1 | 0 | 1 | 2 | Ref-Test
Wei Te 2022 | healthy |  | 29.3 | 3.6 | young | 21.2 | 50 |  | 30 | Forerunner 945 | right | HR | ECG | Lab | Cycling | MV | relative | [6 empty] | -0.42 |  | -8.12 | 4.43 |  |  |  |  | no | 30 | 0 | 1 | 0 | 1 | 2 | Ref-Test
Hermand 2021 | healthy |  | 32.5 | 9.4 | young | 24.28 | 50 | 1.9 | 10 | Forerunner 245 | random | HR | ECG | Lab | Cycling | MV | relative | [6 empty] | -1.3 |  | -16.1 | 13.5 |  |  |  |  | yes | 40 | 0 | 1 | 0 | 1 | 2 | Ref-test
Hermand 2021 | healthy |  | 32.5 | 9.4 | young | 24.28 | 50 | 1.9 | 10 | Forerunner 245 | random | HR | ECG | Lab | Cycling | MV | relative | [6 empty] | -1.8 |  | -9.8 | 6.2 |  |  |  |  | yes | 40 | 0 | 1 | 0 | 1 | 2 | Ref-test
Hermand 2021 | healthy |  | 32.5 | 9.4 | young | 24.28 | 50 | 1.9 | 10 | Forerunner 245 | random | HR | ECG | Lab | Cycling | MV | relative | [6 empty] | -0.3 |  | -14.8 | 14.2 |  |  |  |  | yes | 40 | 0 | 1 | 0 | 1 | 2 | Ref-test
Hermand 2021 | healthy |  | 32.5 | 9.4 | young | 24.28 | 50 | 1.9 | 10 | Forerunner 245 | random | HR | ECG | Lab | Cycling | MV | relative | [6 empty] | -1.2 |  | -12 | 9.7 |  |  |  |  | yes | 40 | 0 | 1 | 0 | 1 | 2 | Ref-test
Hermand 2021 | healthy |  | 32.5 | 9.4 | young | 24.28 | 50 | 1.9 | 10 | Forerunner 245 | random | HR | ECG | Lab | Cycling | MV | relative | [6 empty] | -2.5 |  | -20.2 | 15.1 |  |  |  |  | yes | 40 | 0 | 1 | 0 | 1 | 2 | Ref-test
Hermand 2021 | healthy |  | 32.5 | 9.4 | young | 24.28 | 50 | 1.9 | 10 | Forerunner 245 | random | HR | ECG | Lab | Cycling | MV | relative | [6 empty] | -0.7 |  | -20.9 | 19.4 |  |  |  |  | yes | 40 | 0 | 1 | 0 | 1 | 2 | Ref-test
Budig 2021 | healthy |  | 36.1 | 12.8 | young | 23.6635 | 44.4444 |  | 36 | Forerunner 245 | random | HR | Polar H10 | Lab | Mix | MV | relative | [6 empty] | -6.73 |  | -33.83 | 20.36 |  |  |  |  | yes | 418323 | 1 | 1 | 1 | 0 | 3 | Test-Ref
Budig 2021 | healthy |  | 36.1 | 12.8 | young | 23.6635 | 44.4444 |  | 36 | Forerunner 245 | random | HR | Polar H10 | Lab | Mix | MV | relative | [6 empty] | -1.8 |  | -11.13 | 7.53 |  |  |  |  | yes | 344960 | 1 | 1 | 1 | 0 | 3 | Test-Ref
Miller2022 | healthy |  | 25.4 | 5.9 | young |  | 49.6 |  | 53 | Forerunner 245 music | random | Sleep (TST) | PSG | Lab |  |  | relative | [6 empty] | 43.8 | 38 | [6 empty] | no | 53 | 1 | 1 | 0 | 0 | 2 | Test-Ref
Miller2022 | healthy |  | 25.4 | 5.9 | young |  | 49.6 |  | 53 | Forerunner 245 music | random | Sleep (epoch) | PSG | Lab |  |  | relative | [10 empty] | 98 |  | 27 |  | no | 53 | 1 | 1 | 0 | 0 | 2 | Test-Ref
Miller2022 | healthy |  | 25.4 | 5.9 | young |  | 49.6 |  | 53 | Forerunner 245 music | random | HR | ECG | Lab | Sleeping |  | relative | [6 empty] | 5 | 12.8 | -20 | 30 |  |  |  |  | no | 53 | 1 | 1 | 0 | 0 | 2 | Test-Ref
Kastelic 2021 | healthy |  | 74 | 5 | old | 25.8 | 53.5714 |  | 28 | Vivoactive4 | non-dominant | Steps | video | Lab | Walking | Light | relative | [6 empty] | -5 |  | -37 | 27 |  |  |  |  | no | 28 | 0 | 1 | 0 | 0 | 1 | Ref-Test
Kastelic 2021 | healthy |  | 74 | 5 | old | 25.8 | 53.5714 |  | 28 | Vivoactive4 | non-dominant | Steps | video | Lab | Walking | Light | relative | [6 empty] | -8 |  | -52 | 36 |  |  |  |  | no | 28 | 0 | 1 | 0 | 0 | 1 | Ref-Test
Kastelic 2021 | healthy |  | 74 | 5 | old | 25.8 | 53.5714 |  | 28 | Vivoactive4 | non-dominant | Steps | video | Lab | Daily living | Light | relative | [6 empty] | 3 |  | -89 | 95 |  |  |  |  | no | 28 | 0 | 1 | 0 | 0 | 1 | Ref-Test
Kastelic 2021 | healthy |  | 74 | 5 | old | 25.8 | 53.5714 |  | 28 | Vivoactive4 | non-dominant | Steps | video | Lab | Daily living | Light | relative | [6 empty] | 7 |  | -21 | 36 |  |  |  |  | no | 28 | 0 | 1 | 0 | 0 | 1 | Ref-Test
Theurl 2023 | clinical | myocardial infarction | 59 | 8.8889 | middle | 26.2 | 17 |  | 104 | Vivoactive4 | right | HR | ECG | Lab | Rest | Rest | relative | [6 empty] | 0 |  | -0.1 | 0.2 |  |  |  |  | no | 104 | 1 | 1 | 0 | 1 | 3 | Test-Ref
Theurl 2023 | clinical | stroke | 67 | 13.3333 | old | 25.6 | 30 |  | 129 | Vivoactive4 | right | HR | ECG | Lab | Rest | Rest | relative | [6 empty] | 0 |  | -0.5 | 0.5 |  |  |  |  | no | 129 | 1 | 1 | 0 | 1 | 3 | Test-Ref
Theurl 2023 | healthy |  | 44 | 23.7037 | old | 22.9 | 47 |  | 30 | Vivoactive4 | right | HR | ECG | Lab | Rest | Rest | relative | [6 empty] | 0 |  | -0.5 | 0.6 |  |  |  |  | no | 30 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Budig 2022 | clinical | sleep disorder | 55.01 | 10.19 | middle | 30.57 | 63.3333 |  | 49 | Forerunner 945 | random | Sleep (TST) | PSG | Lab |  |  | relative | [6 empty] | -83.08 |  | -190.41 | 24.25 |  |  |  |  | no | 49 | 0 | 1 | 1 | 0 | 2 | Ref-Test
Neudorfer 2024 | healthy |  | 59.1 | 10.1 | middle | 26.1 | 0.34375 | 3 | 32 | Venu 2s | Random | HR | ECG | Lab | Cycling | light | relative | [6 empty] | -0.9 |  | -16.4 | 14.5 |  |  |  |  | yes | 3869 | 1 | 1 | 1 | 1 | 4 | Ref-Test
Neudorfer 2024 | healthy |  | 59.1 | 10.1 | middle | 26.1 | 0.34375 | 3 | 32 | Venu 2s | Random | HR | ECG | Lab | Cycling | MV | relative | [6 empty] | -1.3 |  | -21.7 | 19.2 |  |  |  |  | yes | 3867 | 1 | 1 | 1 | 1 | 4 | Ref-Test
Neudorfer 2024 | healthy |  | 59.1 | 10.1 | middle | 26.1 | 0.34375 | 3 | 32 | Venu 2s | Random | HR | ECG | Lab | Cycling | MV | relative | [6 empty] | -3.2 |  | -35.1 | 28.7 |  |  |  |  | yes | 3807 | 1 | 1 | 1 | 1 | 4 | Ref-Test
Neudorfer 2024 | healthy |  | 59.1 | 10.1 | middle | 26.1 | 0.34375 | 3 | 32 | Venu 2s | Random | HR | ECG | Lab | Daily living | Light | relative | [6 empty] | -2.2 |  | -17.6 | 13.2 |  |  |  |  | yes | 23772 | 1 | 1 | 1 | 1 | 4 | Ref-Test
Neudorfer 2024 | healthy |  | 59.1 | 10.1 | middle | 26.1 | 0.34375 | 3 | 32 | Venu 2s | Random | HR | ECG | Field | Daily living | Light | relative | [6 empty] | -0.2 |  | -11.7 | 11.4 |  |  |  |  | yes | 2402348 | 1 | 1 | 1 | 1 | 4 | Ref-Test
Note on P33: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: without swimming. Protocol: walking, running, swimming etc

## data Samsung
Study | Participants | detail of condition | Age | Age_SD | Age_group | BMI | Female % | Fitzpatrick scale (median) | N_study | Device | Wrist | Outcome | Criterion_measure | Lab_field | Activities | Intensities | relative_absolute | Duration_minutes | Mean_Criterion | SD_Criterion | Mean_Device | SD_Device | Correlation | BA_bias | BA_SD | LOA_L | LOA_U | Sensitivity | Sens_SD | Specificity | Spec_SD | Repeated_measures | N_analysis | Q1_samplesize | Q2_peerreview | Q3_firmware | Q4_multiple devices | Total | Test-Ref or Ref-Test
Kim 2022 | clinical | CVD | 59.9 | 9.4 | middle | 25.5 | 16.7 |  | 78 | Fit 2 | random | HR | ECG | Lab | Running Trdm | Mix | relative | [6 empty] | -2.1 |  | -12.8 | 8.7 |  |  |  |  | yes | 1326 | 1 | 1 | 0 | 1 | 3 | Ref-Test
Kim 2023 | clinical | Coronary artery disease | 60.9 | 7.9 | middle | 25.5565 | 18.1818 |  | 44 | Galaxy Watch 4 | random | HR | ECG | Lab | Running Trdm | MV | relative | [6 empty] | 0.18 |  | -3.58 | 3.95 |  |  |  |  | yes | 1054 | 0 | 1 | 0 | 1 | 2 | Ref-Test
Lee 2023 | clinical | Sleep disorders | 43.59 | 14.1 | middle | 23.9 | 48 |  | 22 | Galaxy Watch 5 | random | Sleep (epoch) | PSG | Lab |  |  | relative | [10 empty] | 91 |  | 48 |  | no | 22 | 0 | 1 | 0 | 0 | 1
Lima 2024 | healthy |  | 28.6 | 5.6 | young | 24.7 | 50 |  | 14 | Galaxy Watch 4 | random | HR | Polar | Lab | Cycling | MV | relative | [6 empty] | 3.43 | 14.15 | [6 empty] | yes | 8461 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Lima 2024 | healthy |  | 28.6 | 5.6 | young | 24.7 | 50 |  | 14 | Galaxy Watch 4 | random | HR | Polar | Lab | Cycling | MV | relative | [6 empty] | 0.14 | 5.79 | [6 empty] | yes | 8254 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Lima 2024 | healthy |  | 28.6 | 5.6 | young | 24.7 | 50 |  | 14 | Galaxy Watch 4 | random | HR | Polar | Lab | Running Trdm | MV | relative | [6 empty] | 1.17 | 8.58 | [6 empty] | yes | 8383 | 0 | 1 | 0 | 1 | 2 | Test-Ref
Lima 2024 | healthy |  | 28.6 | 5.6 | young | 24.7 | 50 |  | 14 | Galaxy Watch 4 | random | HR | Polar | Lab | Running Trdm | MV | relative | [6 empty] | 0.32 | 4.62 | [6 empty] | yes | 8413 | 0 | 1 | 0 | 1 | 2 | Test-Ref